1000 Gallon LDHPE Vertical Storage Tank w/ 16" Manway SG-1.5, Size  64" dia. x 7’9” ht.,

2" Polyurethane Foam Insulation with Two Latex Mastic Protective Coatings, 2" PVC sch 80 Bolted fitting.

Address_2732 South City RD 623

City Osceola _____ State AR_____ Zip Code 72370_________