## Materials
Manufacturer Name | Item ID | Manufacturers Part Number | Part Description | Quantity
ALCATEL |  | 108588 | RELAY,110VAC | 1
ALCATEL |  | 9111-0200-0 | KIT, MINOR PUMP | 1
ALCATEL |  | 9111-0138-0 | VALVE, ELECTRIC / 110VAC | 2
ALCATEL |  | 9111-0142-0 | SWITCH, PRESSURE SENSITIVE CROUZET | 2
ALCATEL |  | 9111-0001-0 | SWITCH, WATER FLOW | 2
ALCATEL |  | 9111-0063-0 | SENSOR, INDEXER / XS1-LOG-PB349 | 1
ALCATEL |  | 9111-0324-0 | SENSOR, MAGNET | 1
ALCATEL |  | 9111-0190-0 | PUMP, DIAPHRAM / REPAIRABLE PER ESTHER AT ALCATEL | 1
ALCATEL |  |  | SWITCH, PRESSURE | 1
ALCATEL |  | 0602-7071-0 | DISC, INSULATING | 1
ALCATEL |  | 0602-7061-0 | RING, INSULATING | 1
ALCATEL |  | 0602-6842-0 | RING, CLAMP 5 | 1
ALCATEL |  | MDP 5011 | +PUMP TURBO | 1
ALCATEL |  | 63412 | KIT, MAINTENANCE, FOR DIAPHRAGM PUMP / ES063495 | 1
ALCATEL |  | 115SDMLAH | PUMP, VACUUM | 2
ALCATEL |  | ADP-81 | PUMP, ALCATEL ADP-81 DRY VACUUM / 208V. 3 PHASE, 47 CFM / INLET/EXHAUST PORTS = NW 40/40 | 1
ALCATEL |  | ADP 122P | PUMP, ADP122P - 66 CFM DRY VACUUM / 112 M3/N 33 CFM / FOR CORROSIVE APPLICATIONS | 1
ALCATEL |  | TL02019 | ANTENNA SOURCE ADAPTATION | 1
ALCATEL |  | 305065 | GAUGE, HIGH VACUUM / KF-25 9 PIN D TYPE / DO NOT USE ALCATEL. PER RUSS | 1
ALCATEL |  | CV00124 | O-RING, METRIC SEAL / USED ON CERAMIC BELL JAR | 2
ALCATEL |  | CV00134 | O-RING METRIC SEAL / USED ON SOURCE LOWER PLATE | 9
ALCATEL |  | CV00135 | O-RING, SEAL, METRIC / USED ON SOURCE LOWER PLATE | 2
ALCATEL |  | TR01785 | +PIPE, ALUMINA, CERAMIC CYLINDER / USED AS A PROCESS CHAMBER / 6/10/15 PER DAN NICHOLAS FAB WILL NO | 1
ALCATEL |  | 9111-0270-0 | BELLOWS, LIFT SAS | 1
ALCATEL |  |  | MODULE, RELAY OUTPUT / 16PT 2A | 1
ALCATEL |  |  | MODULE, OUTPUT / 12/24 VDC .5A 16PT | 1
ALCATEL |  | 52575 | PLATE, FRONT | 2
ALCATEL |  | 52715 | ROTOR, HIGH PRESSURE 2ND STAGE / 2004/5/12A&AC | 1
ALCATEL |  | 5.66 X 1.811 | ROTOR, VAC. PUMP / 5.66 X 1.811 | 2
ALCATEL |  | 52545 | HOUSING,PUMP | 1
ALCATEL |  | 52645 | FILTER, INLET | 1
ALCATEL |  | 52574 | STATOR, LOW PRESSURE | 1
ALCATEL |  | 52509 | ROTOR, LARGE - ALCATEL PUMP | 1
ALCATEL |  | AV-52573 | PLATE, INTERMEDIATE | 1
ALCATEL |  | 52686 | PLATE, END | 1
ALCATEL |  | 52711 | STATOR, HIGH PRESSURE | 2
ALCATEL |  | 52715 DUP | ROTOR, SECOND STAGE | 1
ALCATEL |  | 52611 | PUMP, REPAIR KIT / NOW COMES WITH FR VEINS / HS 4/8/02 PER MICHELLE | 2
56
Note on A1: Rule: Required Field The Original Equipment Manufacturer or OEM. This is the name of the company that made the asset. Examples: ABB, Allen Bradley, Cincinnati Milacron, Fanuc, Herman Miller, etc.
Note on B1: Rule: Required Field How does GM identify this asset? If Capital Asset, enter Tag#, if Tooling, enter Part#, if Vehicle, enter VIN, if Indirect Material (crib), enter OLIMPIC common code.
Note on C1: Rule: Required Field The part number that identifies this part/item. The part number is the number that has been assigned to the item by the OEM.
Note on D1: Rule: Required Field The description of the part as defined by the Original Equipment Manufacturer.
Note on E1: Rule: Required Field How many of this item is available for disposal? Format: Numeric