## Materials
Manufacturer Name | Item ID | Manufacturers Part Number | Part Description | Quantity
TEGAL CORPORATION |  | 80202173 | O-RING / 1 13/16 X 3/32 / 70 DUROMTR. | 10
TEGAL CORPORATION |  | 80-202-034 | GROMMET, RUBBER / .3125 ID X .500 OD | 22
TEGAL CORPORATION |  | 80-202-166 | O-RING, * / 1 1/8 ID X 3/32 | 1
TEGAL CORPORATION |  | 80-197-040 | VALVE NEEDLE, CLIPPARD MNV-1K / INLET: MALE 10-32, OUTLET:FEMALE 10-32 / BRASS, WITH ADJ. KNOB, 100PSI | 2
TEGAL CORPORATION |  | 80-198-074 | VALVE SHUTTLE, 10-32 FEMALE IN, MALE OUT | 1
TEGAL CORPORATION |  | 40-296-001 | INSULATOR, RF / FITS STRAIGHT PANEL COAX CONNECTOR / (S 07001108) | 2
TEGAL CORPORATION |  | 80-680-095 | ADAPTOR, BULKHEAD COAX, N, JACK/JACK / AMPHENOL P/N 91100 | 1
TEGAL CORPORATION |  | 29-372-001 | KIT, FIELD - VEN, 4808 RP | 1
TEGAL CORPORATION |  | 93-123-006 | CABLE, GAS DELIVERY | 1
TEGAL CORPORATION |  | 93-112-001 | CABLE, PRESSURE CENTRAL | 1
TEGAL CORPORATION |  | 93-064-001 | CABLE, GAS CONTROL | 2
TEGAL CORPORATION |  | 93-117-006 | CABLE, RF COAX | 1
TEGAL CORPORATION |  | 41-399-001 | GASKET, RF / MACHINE NAME ETCHER / MODEL 903 | 1
TEGAL CORPORATION |  | 80-094-095 | CONTROLLER, MASS FLOW, 15 SCCM, CF4 / CELERITY P/N C100AF-0063015C / FOR 903 ETCHER | 4
TEGAL CORPORATION |  | CE100500202 | POWER SUPPLY MODULE, 5-15VDC -TEGAL 901E | 1
TEGAL CORPORATION |  | 31-332-001 | POWER SUPPLY, 5 VDC, REGULATED | 2
TEGAL CORPORATION |  | 94-228-006 | HARNESS, CASSETTE INDEXER, REV A / MACHINE NAME TEGAL / MACHINE MODEL 901E AND 903E | 1
TEGAL CORPORATION |  | 31-165-005 | MOTOR,STEPPER - ELEVATOR PH268-23 / 1.8 /STEP, 24VDC, 0.34 AMP / 8/19/08 PER THEIS THIS ITEM IS NO LONGER | 1
TEGAL CORPORATION |  | 99173008 | BOARD, RF INTERFACE - TEGAL REV 8 | 1
TEGAL CORPORATION |  | 80-506-003 | FILTER, ENDPT, 520 NM, TEGAL 903 CHMBR A | 1
TEGAL CORPORATION |  | 37-568-001 | RING, INSULATOR CLAMP / EQUIP, MFG NAME TEGAL / MACHINE NAME ETCHER | 4
TEGAL CORPORATION |  | 33-267-004 | MANIFOLD, PRESSURE/VACUUM / MANIFOLD FOR TEGAL 903e | 1
TEGAL CORPORATION |  | 40-140-001 | RING, CERAMIC INSUL UPPER ELECTRODE, 901 / USED IN TEGAL 901E ETCHER | 1
TEGAL CORPORATION |  | 99-223-002 | BOARD, CHUCK SENSOR (WITHOUT MOUNTING) | 1
TEGAL CORPORATION |  | 39-818-001 | SLEEVE/NUT-FIBER OPTIC | 2
TEGAL CORPORATION |  | 39-341-05 | BODY, VENTED CHAMBER / NOT REPAIRABLE PER JOHN AT TEGAL 6-19-01 | 2
TEGAL CORPORATION |  | 39-344-010 | ELECTRODE, UPR / NOT REPAIRABLE PER JOHN AT TEGAL | 1
TEGAL CORPORATION |  | 39-343-001 | CHAMBER, MANF / ITEM TOO HEAVY FOR UPS DELIVERY | 4
TEGAL CORPORATION |  | 80-506-011 | FILTER, ENDPT, 704 NM, TEGAL 901 CHMBR B | 1
TEGAL CORPORATION |  | 99176001 | SENSOR / THIS PART IS NOT OBSOLETE! MIKE SALYERS / 12/02/99 | 1
TEGAL CORPORATION |  | 99-138-004 | BOARD, TEMPERATURE INTERFACE / REPAIRABLE AT THEIS. MH | 1
TEGAL CORPORATION |  | CD115100102 | BOARD, ENDPOINT, TEGAL | 1
TEGAL CORPORATION |  | 39-732-001 | PIN, COLLAR | 3
TEGAL CORPORATION |  | 80202183 | O-RING, VITON ARP -159 / 5.0 OD X 5.1875 OD X .09375 W, 70 / DUROMETER | 5
TEGAL CORPORATION |  | 99224001 | BOARD, SENSOR | 1
TEGAL CORPORATION |  | 99165003 | BOARD, ESI-3 ELEVATOR SENSOR / SAME AS MR-55438 AND MR-54250 | 1
TEGAL CORPORATION |  | 99247003 | +BOARD, SPATULA INTERFACE, SPI-3 | 2
TEGAL CORPORATION |  | 40159001 | ROD, SAPPHIRE, STRAIGHT / .25 DIA / FOR TEGAL 901E & 903E ETCHERS | 3
TEGAL CORPORATION |  | 39735003 | ELECTRODE, LOWER, 903E / 5 WAFERS / FOR TEGAL 903E ETCHER | 1
TEGAL CORPORATION |  | ACG501 | GENERATOR, ENI ACG-5 RF / ACG-5-01, 500 WATT / FOR TEGAL 901 ETCHER | 1
TEGAL CORPORATION |  | 93229002 | CABLE, RF COAX, 25 THIN CONDUCTOR / * / FOR TEGAL MODEL 901E | 2
TEGAL CORPORATION |  | 40297001 | PIN, QUARTZ / 1.79 LONG / FOR TEGAL 901E ETCHER | 5
TEGAL CORPORATION |  | 33-085-002 | BELLOWS, LOWER ELECTRODE / NOT REPAIRABLE PER JOHN AT TEGAL 6-19-01 | 1
TEGAL CORPORATION |  | 80202333 | LIGHT PIPE, IUV, QUARTZ, 0.17 DIA. / NOT REPAIRABLE PER TEGAL 1-7-02 CC | 1
TEGAL CORPORATION |  | 802021244750 | O-RING, * / 4.750 ID X .09375 | 1
TEGAL CORPORATION |  | 40053001 | O-RING, SILICONE - GREY, 12 ID X .210 W / 12.190 ID X .210 CS | 1
TEGAL CORPORATION |  | 80095012 | POWER SUPPLY, REGULATED / 5 VDC-3 AMP | 1
TEGAL CORPORATION |  | 80202060 | O-RING, 6 CHAMBER, GREY SILICONE / ARP-06-437, 6.0 ID X 6-1/2 OD X 1/4 W / 70 DUROMETER | 1
TEGAL CORPORATION |  | 80-095-205 | TRANSFORMER, w/200v-208v-220v Taps / FOR TEGAL ETCHER SENDER POWER SUPPLY | 3
TEGAL CORPORATION |  | 31-180-001 | SENSOR, ///OBSOLETE - NO LONGER / AVAILABLE/// / WAFER SENDER | 2
TEGAL CORPORATION |  | 39733003 | ELECTRODE, LOWER, 901E / 5.00 ONLY / FRONT SIDE ETCH ONLY | 2
TEGAL CORPORATION |  | 39344002 | ELECTRODE, SHOWERHEAD UPPER, 901E / FOR 4.00 , 5.00 & 6.00 WAFERS / FOR TEGAL 901E ETCHER | 2
TEGAL CORPORATION |  | 33-367-002 | RING, BRAID GROUNDING//USE S-150384 / FOR UPPER ELECTRODE | 1
TEGAL CORPORATION |  | 41-215-001 | RING, RETAINING / FOR UPPER ELECTRODE | 21
TEGAL CORPORATION |  | 93-136-002 | CABLE, RF, MATCH TO RF GEN, 27 / * | 2
TEGAL CORPORATION |  | 80198045 | VALVE, HIGH VACUUM | 2
TEGAL CORPORATION |  | 81-105-236 | PUMP, CHILLER | 2
TEGAL CORPORATION |  | 81-105-232 | VALVE, CHILLER BYPASS PRESSURE RELIEF | 2
TEGAL CORPORATION |  | 80-200-342 | BAND, FEMALE- FOR LIFTER PINS | 3
TEGAL CORPORATION |  | 80-200-275 | GASKET, RF1 MESH - MIN BUY QTY / 1/8 X 1/2 | 340
TEGAL CORPORATION |  | 40295003 | RING, CERAMIC, RAISED - LOWER ELECTRODE / FOR TEGAL 903E LOWER ELECTRODE | 1
TEGAL CORPORATION |  | 80871146 | CABLE.COAXIAL, TEGAL, 13 LONG / 1/13/03 PER STEVE WILLIAMS ONLY BUY / FROM TEGAL JR | 1
TEGAL CORPORATION |  | 56-006-001 | BEARING, ALIGNMENT ELEVATOR / *MUST GO THROUGH TEGAL** | 4
TEGAL CORPORATION |  | 80-80-052 | CYLINDER, AIR - WAFER WITH PINS / 1 1/2 STROKE 2 BORE | 1
TEGAL CORPORATION |  | 40-027-001 | WINDOW, SAPPHIRE | 1
TEGAL CORPORATION |  | 80-195-158 | ELBOW, BRASS, 3/8 MPT X 1/8 BARB / .125 NPT X ?? | 1
TEGAL CORPORATION |  | 80-202-212 | O-RING, VITON, ARP-203 / 5/16 ID X 9/16 OD X 1/8 W, 70 DURO | 5
TEGAL CORPORATION |  | 40-150-001 | INSULATOR, LWR ELECTRODE / NOT REPAIRABLE PER TEGAL 2-21-02 CC | 1
TEGAL CORPORATION |  | 80-080-065 | CYLINDER, AIR, CLIPPARD SDR-08-1 / 1 STRK 1/2 BORE | 1
TEGAL CORPORATION |  | 55-006-001 | BELT, WAFER LOADER | 2
TEGAL CORPORATION |  | 80-202-061 | O-RING, GREY SILICONE, ARP 06-011 / 5/16 ID X 7/16 OD X 1/16 W / TEGAL PN 80-202-061 | 3
TEGAL CORPORATION |  | 80-202-119 | O-RING, POLYURETHANE, ARP-126 / 1-3/8 ID X 1-9/16 OD X 3/32 W, 70 DURO / MANUF P/N -126 POLYURETHANE | 1
TEGAL CORPORATION |  | 80-202-122 | O-RING, POLYURETHANE, ARP-134 / 1-7/8 X 2-1/16 X 3/32 W, 70 DUROMETER / MANUF P/N: -134 POLYURETHANE | 3
TEGAL CORPORATION |  | 80-202-083 | O-RING, SILICONE, ARP-06-228 / 2 1/4 X 1/8 W | 1
TEGAL CORPORATION |  | 40-011-001 | O-RING, GREY SILICONE, ARP 06-206 / 1/2 ID X 3/4 OD X 1/8 W / TEGAL P/N 40-011-001 | 2
TEGAL CORPORATION |  | 80-095-057 | PROBE, TEMPERATURE / * | 1
TEGAL CORPORATION |  | 99287003 | BOARD, SHUTTLE INTERFACE - TEGAL ONLY | 2
TEGAL CORPORATION |  | 99237003 | BOARD, ENDPOINT, DEP-2, RAINES, REV O | 1
TEGAL CORPORATION |  | 31-319-001 | BOARD, CHUCK SENSOR ASSY / * | 1
TEGAL CORPORATION |  | CD101100303 | DISPLAY, ALPHANUMERIC | 1
TEGAL CORPORATION |  | 99125008 | BOARD, FRONT PANEL INTERFACE / FOR: TEGAL ETCHER / PER TIM FENNELL IRC DOES NOT REPAIR | 1
TEGAL CORPORATION |  | 99129006 | BOARD, SHUTTLE INTERFACE / THIS VERSION IS NOT AVAILABLE AT THEIS / PER MICHELLE LaNOUE. | 5
TEGAL CORPORATION |  | 99-173-004 | BOARD, RF INTERFACE - TEGAL REV 4 AND 5 | 1
TEGAL CORPORATION |  | 99-209-003 | BOARD, POWER MONITOR / * | 1
TEGAL CORPORATION |  | 99126006 | BOARD, GAS CONTROL / PCB IGC-6 INFC GAS | 1
532
Note on A1: Rule: Required Field The Original Equipment Manufacturer or OEM. This is the name of the company that made the asset. Examples: ABB, Allen Bradley, Cincinnati Milacron, Fanuc, Herman Miller, etc.
Note on B1: Rule: Required Field How does GM identify this asset? If Capital Asset, enter Tag#, if Tooling, enter Part#, if Vehicle, enter VIN, if Indirect Material (crib), enter OLIMPIC common code.
Note on C1: Rule: Required Field The part number that identifies this part/item. The part number is the number that has been assigned to the item by the OEM.
Note on D1: Rule: Required Field The description of the part as defined by the Original Equipment Manufacturer.
Note on E1: Rule: Required Field How many of this item is available for disposal? Format: Numeric