## Sheet1
Material | Commodity Name | Strategic Category | Plant | Material Description | Long Text | Validated # of Items to be removed | UOM
10089857 | Measuring, observing | Process Control | 1017 | ELECTRODE ASSEMBLY, PH ELEMENT, FOXBORO | SENSOR, ELECTRODE ASSEMBLY, PH ELEMENT, WITH 0051189 PROTECTION SLEEVE AND 20' INTEGRAL CABLE, SENSOR BODY TYTON, WITH CPVC ADAPTOR, MEASELECTRODE AND BODY-FLAT RUGGEDIZED TITANIUM WETTED RUGG, MODEL 871PH-1F1A, FOXBORO, 871PH-1F1A | 5 | EA
10091162 | Electronic Parts | Industrial Supplies | 1017 | ELECTRODE, REFERENCE, L & N P/N 117481 G | ELECTRODE, REFERENCE, GEL-FILLED, LEEDS NORTHRUP, 117481 | 22 | EA
10092216 | Electrical Parts | Industrial Supplies | 1017 | PREAMP, PH, TRANSMITTER, FOR L&N MICROPR | PREAMP, PH, TRANSMITTER, FOR L N MICROPROCESSOR BASED PH TRANSMITTERS, FOR USE WITH L N MODELS 7073, 7081, 7082 7083 PH MONITORS, L N # 022283, HONEYWELL # 31022283 | 8 | EA
10097483 | Measuring, observing | Process Control | 1017 | BEARING SHOE, NO. 410-040-002, 2ND & 3RD | SHOE, BEARING, 2ND <(>&<)> 3RD STAGE OR BLIND END, FOR ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 QUOTE #Q-8-N-022, DRESSER-CLARK, 410-040-002 | 8 | EA
10076184 | Electrical Parts | Industrial Supplies | 1017 | INSULATOR, THERMOCOUPLE, PROCELAIN, OVAL | ASSEMBLY, INSULATOR, THERMOCOUPLE, 3" LG, PORCELAIN, OVAL, BEAD, TWO HOLE FOR 8 GAUGE THERMOCOUPLE WIRE, THERMO ELECTRIC, 1572-2 | 1 | BOX
10076248 | Electrical Parts | Industrial Supplies | 1017 | LUG, T & B #54113, 250 MCM WIRE, COMP., | HYLUG, BURNDY, NO. YA29-L, FOR 250 MCM CABLE | 14 | EA
10076249 | Electrical Parts | Industrial Supplies | 1017 | LUG, T & B #54112, 4/0 WIRE, COMP., 3/8" | HYLUG, BURNDY, NO. YA28-L4, FOR NO. 4/0 WIRE | 10 | EA
10076251 | Electrical Parts | Industrial Supplies | 1017 | LUG, T&B# 54147, #1 WIRE, COMP., 5/16" | CONNECTOR, ELECTRICAL, TERMINAL, COMPRESSION LUG, 1 AWG, 5/16" BOLT, GREEN, SHORT BARREL 1-HOLE COPPER COLOR KEYED, NAED #78621054147, THOMAS <(>&<)> BETTS, 54147 | 10 | EA
10076253 | Specialty fasteners | Pipe, Valves & Fittings | 1017 | TERMINAL, 12-10 WIRE, 1/4" STUD, UNINSUL | HYLUG, BURNDY, NO. YAV10-T3 FOR NO. 12 THRU NO. 10 WIRE. | 93 | EA
10076264 | Electrical Parts | Industrial Supplies | 1017 | HEATER, STRIP, 115 V, 200 WATT, #SS2041 | HEATER, STRIP, 115V, 200 W, WELLMAN, SS2041 | 2 | EA
10076268 | Electrical Parts | Industrial Supplies | 1017 | HUB, MYERS, HUB50A, 1/2" ALUMINUM ONLY, | HUB, MYERS, HUB50A, 1/2" ALUMINUM ONLY, 78138119146 | 2 | EA
10076286 | Electrical Parts | Industrial Supplies | 1017 | RELAY, TIMING, OFF DELAY, 3-30 MINUTE, 2 | RELAY, TIME DELAY, 3-30 MIN, OFF-DELAY, 120V, 10A 240V, DPDT, ELECTRO-PNEUMATIC, TYCO, AGASTAT, 7022-AH | 2 | EA
10076297 | Electrical Parts | Industrial Supplies | 1017 | CLIP, FUSE, 1-SET, PN A500-307297-7 | CLIP, FUSE, 1 SET, SCHNEIDER ELECTRIC, A5003072977 | 3 | ST
10076300 | Electrical Parts | Industrial Supplies | 1017 | CONTROL, PHOTO, LIGHTING RESEARCH INC. # | CONTROL, PHOTOELECTRIC, 120V 2A, PHOTO CONTROL, 3000W, ONLY, , LIGHTING RESEARCH INC, TORK, 2119A | 4 | EA
10076326 | Electronic Parts | Industrial Supplies | 1017 | LAMP, GE #120MB MIN. BAY 120V, NAED# 316 | LAMP, INCANDESCENT, MINIATURE, 3W, 120V, MINIATURE BAYONET BASE, T2-1/2 BULB, 0.025A, 10/BOX NAED #316812078, GENERAL ELECTRIC, 120MB | 2 | BOX
10076327 | Office Equipment, Su | Office Supplies & Equip | 1017 | CABINET, MFG. GAITRONICS, WEATHERPROOF T | CABINET, WEATHERPROOF TELEPHONE ENCLOSURE, 14.6" HT X 10-1/2", SS HARDWARE, WITH LOCKABLE SPRING DOOR, GAI-TRONICS, 255 | 1 | EA
10076329 | Electrical Parts | Industrial Supplies | 1017 | FIXTURE HANGER, COMPLETE, 3/4" HUB AND 3 | HANGER, FLEXIBLE, 3/4" HUB X 3/4" STEM, ENCLOSED & GASKETED, WITH SPLICE BOX, FIXTURE, COMPLETE, KILLARK, VPFHA22 | 7 | EA
10076330 | Electrical Parts | Industrial Supplies | 1017 | HEATER, SQUARE D B0.81 | ELEMENT, HEATER OVERLOAD, THERMAL, B0.81, FOR MANUAL MOTOR STARTERS FOR ELECTRIC VIBRATORS ON BN-7, SQUARE D, SCHNEIDER ELECTRIC, B0.81 | 3 | EA
10076331 | Electrical Parts | Industrial Supplies | 1017 | HEATER, SQUARE D B1.16 | ELEMENT, HEATER OVERLOAD, THERMAL, B1.16, FOR MANUAL MOTOR STARTERS FOR ELECTRIC VIBRATORS ON BN-7, SQUARE D, SCHNEIDER ELECTRIC, B1.16 | 3 | EA
10076339 | Electrical Parts | Industrial Supplies | 1017 | CABLE, HEATING, THERMON P/N FP-2.5-BN, W | CABLE, HEAT TRACE, WITH SS OVERBRAID, THERMON, FP-2.5-BN | 400 | FT
10076340 | Measuring, observing | Process Control | 1017 | CONNECTOR, THERMON, CAT. #18-SXG,THERMON | CONNECTOR, FOR THERMON ELECTRIC HEAT TRACE SYSTEMS, THERMON, 18SXG | 26 | EA
10076341 | Electrical Parts | Industrial Supplies | 1017 | CAP, END, THERMON, CAT. #ET-6C | CAP, END SEAL, RUBBER, FOR ELECTRIC HEAT TRACE SYSTEMS, THERMON, ET-6C | 3 | EA
10076342 | Electronic Parts | Industrial Supplies | 1017 | FUSE, BUSSMANN ACK-150, 150 AMP, 125 V | FUSE, 150A, 125V, TIME DELAY, E NAED #171270141, BUSSMANN, ACK-150 | 6 | EA
10076343 | Valves, Relief (and | Process Control | 1017 | TAPE, ALUMINUM, 2", THERMON AL-20H | TAPE, HEAT TRACING, 180' LG, ALUM, FOR ELECTRIC HEAT TRACE SYSTEMS, THERMON, AL-20H | 4 | RL
10076345 | Electronic Parts | Industrial Supplies | 1017 | LIGHT, WARNING RED, FEDERAL SIGNAL MODEL | LIGHT, RED WARNING, FEDERAL SIGNAL MODEL 151XST-120R, (STROBE LIGHT) CLASS I, DIV. 2 | 1 | EA
10076349 | Electronic Parts | Industrial Supplies | 1017 | SEAL, HOLE, HOFFMAN A-SPB-SS(PUSHBUTTON) | SEAL, PUSHBUTTON HOLE, 30.5 MM, SS, OIL TIGHT, HOFFMAN, A-SPB-SS | 6 | EA
10076350 | Electronic Parts | Industrial Supplies | 1017 | FIXTURE, 175W, LED,3/4",PENDANT | FIXTURE, MERCMASTER III, 175W, LED, 3/4" HUB, PENDANT MOUNT WITH GLOBE AND GUARD ENCLOSED AND GASKETED, APPLETON, MLEDNA172P5BU | 1 | EA
10076351 | Electronic Parts | Industrial Supplies | 1017 | FIXTURE, 250W, METAL HALIDE,3/4",PENDANT | FIXTURE, HID, METAL HALIDE, 250W, 3/4" HUB, PENDANT MOUNT, WITH GLOBE AND GUARD, ENCLOSED AND GASKETED, WITH (1) LPA-75 - MOUNTING HOOD, (2) LPB250H-MT - BALLAST, (3) VPGL-2 - GLOBE, (4) KGUE - GU, APPLETON, KPAP2575J5GMT | 1 | EA
10076352 | Electronic Parts | Industrial Supplies | 1017 | FIXTURE, 250W, METAL HALIDE,1-1/2STACHON | FIXTURE, HID, METAL HALIDE, 250W, 1-1/2" HUB, 25 DEG STANCHION MOUNT, GLOBE AND GUARD, ENCLOSED AND GASKETED, WITH (1) LPS-150 - MOUNTING HOOD, (2) LPB250H-MT - BALLAST, (3) VPGL-2 - GLOBE (4) KG, 1-1/2STACHON, APPLETON, LPSH25150GMT | 1 | EA
10076353 | Electrical Parts | Industrial Supplies | 1017 | OPERATOR, ILLUMINATED, TYPE 800 (GREEN) | SWITCH, PUSHBUTTON, 120V 50/60HZ, 1NO 1NC, GREEN, TRANSFORMER FLUSH HEAD MOMENTARY ILLUMINATED SMALL SCREW TERMINATION, FOR MINIATURE OILTIGHT ILLUMINATED, (COMPLETE 800MR-PA16GAS, ALLEN-BRADLEY, 800MR-PA16GAS | 3 | EA
10076354 | Electrical Parts | Industrial Supplies | 1017 | OPERATOR, ILLUMINATED, TYPE 800 (RED), F | SWITCH, PUSHBUTTON, 120V 50/60HZ, 1NO 1NC, RED, TRANSFORMER FLUSH HEAD MOMENTARY ILLUMINATED STAB TERMINALS TERMINATION, FOR AN ALLEN-BRADLEY MINIATURE OIL TIGHT ILLUMINATED PUSHBUTTON (COMPLETE), ALLEN-BRADLEY, 800MR-PA16RAS | 3 | EA
10076355 | Electrical Parts | Industrial Supplies | 1017 | BLOCK, CONTACT, 800M-XAS, 1 N.C., 1 N.O. | BLOCK, CONTACT, STANDARD, 1NO 1NC, SMALL SCREW TERMINAL WITH PRESSURE PLATE, FOR A TYPE 800MR, ALLEN-BRADLEY, 800M-XAS | 5 | EA
10076356 | Electrical Parts | Industrial Supplies | 1017 | BLOCK, CONTACT, 800M-XDIS, 1 N.O. CONTAC | BLOCK, CONTACT, STANDARD, SCREW TERMINAL, 1NO, FOR TYPE 800MR MINIATURE OIL TIGHT PUSHBUTTON, ALLEN-BRADLEY, 800M-XD1S | 1 | EA
10076357 | Electrical Parts | Industrial Supplies | 1017 | CAP, COLOR (RED), 800MR-NIR, FOR ALLEN B | CAP, LENS, RED ILLUMINATED PILOT LIGHT NO LEGEND, SMALL OILTIGHT, ALLEN-BRADLEY, 800MR-N1R | 20 | EA
10076358 | Electrical Parts | Industrial Supplies | 1017 | CAP, COLOR, (GREEN), 800 MR-NIG, FOR AN | CAP, LENS, GREEN ILLUMINATED PILOT LIGHT NO LEGEND, FOR SMALL OILTIGHT ILLUMINATED PUSHBUTTON, ALLEN-BRADLEY, 800MR-N1G | 8 | EA
10076359 | Electrical Parts | Industrial Supplies | 1017 | PLATE, LEGEND, START, 800 MR-W19,FOR AN | PLATE, LEGEND, PUSHBUTTON/PILOT LIGHT, START, SMALL OILTIGHT, ALLEN-BRADLEY, 800MR-W19 | 10 | EA
10076360 | Electrical Parts | Industrial Supplies | 1017 | PLATE, LEGEND, STOP, 800 MR-W, FOR AN AL | PLATE, LEGEND, PUSHBUTTON, STOP, FOR AN ALLEN BRADLEY SMALL OIL TIGHT ILLUMINATED PUSHBUTTON, TYPE 800MR, P/N 800MRW620, ALLEN-BRADLEY, 800MR-W | 9 | EA
10076361 | Process Controls (DC | Process Control | 1017 | OPERATOR, 3 POSITION SELECTOR SWITCH, 80 | PLATE, LEGEND, PUSHBUTTON/PILOT LIGHT, STOP, RED, 3 POSITION SELECTOR SWITCH, MINIATURE OILTIGHT, ALLEN-BRADLEY, 800MR-W620 | 5 | EA
10076362 | Electronic Parts | Industrial Supplies | 1017 | LAMP, #86 SUB. MIN. WEDGE 6.3V, .2 AMP | LAMP, INCANDESCENT, MINIATURE, 1W, 6.3V, CLEAR, WEDGE BASE, T1-3/4 BULB, 0.20A, NAED #316840967, GENERAL ELECTRIC, 86 | 20 | EA
10084088 | Pumps - Equipment & | Pumps & Service | 1017 | KIT,REBUILD,SAMPLE GAS,FOR MODEL N010-10 | KIT, REPAIR, REBUILD, SAMPLE GAS, FOR VACUUM PUMP MODEL N010-10L, ANARAD CONTROL SYSTEM, 1N0100 | 2 | EA
10086747 | Heat Exchangers - Eq | Pressure Vessels & Heat Exchangers | 1017 | FERRULE, CERAMIC, 85% ALUMINA, PER ITEM | FERRULE, 2" ID, 85% ALUMINA/CERAMIC, MEASURES 2-1/4" OD X 3- 1/16" LG REDUCING TO 1-47/64" OD X 1-15/32" X 4" LG THE 4" END OF FERRULE IS WRAPPED DWG 27-9-D-3804 ITEM 3, ON HCP, TECHNOTHERM DWG B-6921, ALLIED, DWG 27-9-D-3804 ITEM 3 | 158 | EA
10087816 | Process Controls (DC | Process Control | 1017 | INTEGRATOR, FOXBORO PNEUMATIC, TYPE 14A, | INTEGRATOR, FOXBORO PNEUMATIC, TYPE 14A in standard panel mount enclosure, OPERATING PRESSURE 3-15 PSI, 600 COUNTS PER HOUR | 1 | EA
10087960 | Measuring, observing | Process Control | 1017 | PROBE, PH, MERIDIAN II, W/12' CABLE, W/ | PROBE, PH ELECTRODE MERIDIAN II, 12' LG CABLE, WITH TIP GUARD, IMMERSION, FOR MODEL 7083, LEEDS & NORTHRUP, 31074387 | 1 | EA
10087961 | Measuring, observing | Process Control | 1017 | PREAMP, PH, L&N P/N 075702, FOR MERIDAN | BOARD, PRINTED CIRCUIT, PRE-AMPLIFIER, PH, FOR MERIDIAN II PH PROBES, LEEDS & NORTHRUP, 757072 | 1 | EA
10088064 | Electrical Parts | Industrial Supplies | 1017 | BRACKET ASSEMBLY P/N D-100-MF | BRACKET, ASSEMBLY, FOR FLOWMETER 0-20" H20, S/N 502180, FOXBORO, D-100-MF | 2 | EA
10088426 | Measuring, Observing | Laboratory Equipment | 1017 | FILTER, MEMBRANE, SHIMADZU P/N 638-58088 | MEMBRANE, FILTER, FOR MODEL 5000 LAB TOC, SHIMADZU, 638-58088-00 | 6 | EA
10088427 | Measuring, Observing | Laboratory Equipment | 1017 | TUBING, IC DRAIN, SHIMADZU P/N 016-31350 | TUBING, IC DRAIN FOR MODEL 5000 LAB TOC, OLD P/N 016-31350-01, SHIMADZU, 630-00344-00 | 3 | EA
10088428 | Measuring, Observing | Laboratory Equipment | 1017 | VALVE, 4 PORT, SHIMADZU P/N 638-56078-00 | VALVE, 4 PORT, FOR MODEL 5000 LAB TOC, SHIMADZU, 638-56078-00 | 1 | EA
10088429 | Measuring, Observing | Laboratory Equipment | 1017 | ROPE, WIRE, SHIMADZU P/N 638-30001-00, P | ROPE, WIRE, FOR MODEL 5000 LAB TOC, SHIMADZU, 638-30001-00 | 3 | EA
10088430 | Measuring, Observing | Laboratory Equipment | 1017 | COUPLER, SHIMADZU P/N 032-47905-09, PART | COUPLER, FOR A SHIMADZU MODEL 5000 LAB TOC, SHIMADZU, 032-47905-09 | 5 | EA
10088431 | Measuring, Observing | Laboratory Equipment | 1017 | TUBING, BLOCK, SHIMADZU P/N 638-41269-01 | TUBING, BLOCK FOR MODEL 5000 LAB TOC, SHIMADZU, 638-41269-01 | 8 | EA
10088433 | Measuring, Observing | Laboratory Equipment | 1017 | SEAL, TUBE, SHIMADZU P/N 036-15550-02, P | SEAL, TUBE, O-RING, PART FOR A SHIMADZU MODEL 5000 LAB TOC, SHIMADZU, 036-15550-02 | 3 | EA
10088445 | Measuring, Observing | Laboratory Equipment | 1017 | SYRINGE, 250 UL,SHIMADZU P/N220-95277-00 | SYRINGE, 250 UL CAPACITY, FOR MODEL 5000 LAB TOC, SHIMADZU, 630-02591-04 | 2 | EA
10088446 | Measuring, Observing | Laboratory Equipment | 1017 | O-RING, COMB. TUBE, SHIMADZU P/N 630-015 | O-RING, COMBINATION TUBE FOR MODEL 5000 LAB TOC, SHIMADZU, 630-01566-00 | 2 | EA
10088447 | Measuring, Observing | Laboratory Equipment | 1017 | KEYBOARD, SHIMADZU P/N 630-05274-00, PAR | KEYBOARD, MODEL 5000 LAB TOC, SHIMADZU, 630-05274-00 | 1 | EA
10088449 | Measuring, Observing | Laboratory Equipment | 1017 | NEEDLE, PACKING, SHIMADZU P/N 631-43404- | NEEDLE, PACKING, PART FOR A SHIMADZU MODEL 5000 LAB TOC, SHIMADZU, 6314340401 | 15 | EA
10088450 | Measuring, Observing | Laboratory Equipment | 1017 | BUSHING, NEEDLE, SHIMADZU P/N 631-40267- | BUSHING, NEEDLE, FOR MODEL 5000 LAB TOC, SHIMADZU, 631-40267-01 | 3 | EA
10088455 | Measuring, Observing | Laboratory Equipment | 1017 | O-RING, VITON, INJECTION BLOCK, SHIMADZU | O-RING, VITON, INJECTION BLOCK, 5/PKG PART FOR FOR MODEL 5000 LAB TOC, SHIMADZU, 036-11209-84 | 20 | EA
10088456 | Measuring, Observing | Laboratory Equipment | 1017 | O-RING, TFE, INJECTION BLOCK, SHIMADZU P | O-RING, TEFLON, INJECTION BLOCK, 5/PKG PART FOR FOR MODEL 5000 LAB TOC, SHIMADZU, 036-11408-84 | 4 | EA
10088468 | Valves, Special | Pipe, Valves & Fittings | 1017 | ASSEMBLY, VALVE, THROTTLING, GEORGE FISH | VALVE, ASSEMBLY, THROTTLING, TO INCLUDE SPEARS P/N 857-010, SPEARS P/N 836-010, PART FOR A BETZ HALGEN FEEDER, GEORG FISCHER, 192301449 | 1 | EA
10088648 | Electrical Parts | Industrial Supplies | 1017 | ELECTRODE, REFERENCE, L & N P/N 117392 | ELECTRODE, REFERENCE, FOR MODEL 7773, LEEDS & NORTHRUP, 117392 | 1 | EA
10088665 | Temperature and heat | Process Control | 1017 | SCREW, ORIFICE U0106CA FOR 12A TRANSMITT | SCREW, ORIFICE, FOR TYPE 12-A TEMPERATURE TRANSMITTER, S/N 498518, FOXBORO, U0106CA | 1 | EA
10088710 | Power Transmission | Power Transmission | 1017 | GEAR, MOLDING PN GO103AE FOR FOXBORO MOD | GEAR, FOR FOXBORO MODEL E20S-12RB6 STYLE A, MOLDING, FOXBORO, G0103AE | 1 | EA
10088712 | Power Transmission | Power Transmission | 1017 | GEAR, SPUR, PN GO103BC FOR FOXBORO MODEL | GEAR, SPUR, FOR FOXBORO MODEL E20S-12RB6 STYLE A, FOXBORO, G0103BC | 1 | EA
10088721 | Power Transmission | Power Transmission | 1017 | GEAR, PN GO103CX FOR FOXBORO MODEL E20S- | GEAR, FOR FOXBORO MODEL E20S-12RB6 STYLE A, FOXBORO, G0103CX | 1 | EA
10088722 | Power Transmission | Power Transmission | 1017 | GEAR, PN GO103EC FOR FOXBORO MODEL E20S- | GEAR, FOR FOXBORO MODEL E20S-12RB6 STYLE A, FOXBORO, G0103EC | 1 | EA
10088723 | Power Transmission | Power Transmission | 1017 | MOLDING, GEAR, PN GO103EK FOR FOXBORO MO | GEAR, FOR FOXBORO MODEL E20S-12RB6 STYLE A, MOLDING, FOXBORO, G0103EK | 1 | EA
10088726 | Power Transmission | Power Transmission | 1017 | GEAR, PN GO103EL FOR FOXBORO MODEL E20S- | GEAR, FOR FOXBORO MODEL E20S-12RB6 STYLE A, FOXBORO, G0103EL | 1 | EA
10088786 | Hoses and Components | Hoses & Gaskets | 1017 | O-RING, BUNA-A, FOXBORO P/N B0138QU | O-RING, 3.609, BUNA-N, FOR VORTEX FLOW TRANSMITTER FOXBORO MODEL E83L-1HS-10S IT-C 1-1/2"-150 MODEL E83L-1HS-10S IT-C 1-1/2"-150, FO XBORO, B0138QU | 3 | EA
10089285 | Measuring, observing | Process Control | 1017 | KEYBOARD ASSEMBLY, L & N P/N 056861, FOR | KEYBOARD ASSEMBLY, P/N 056861, FOR LEEDS & NORTHRUP SPEEDOMAX 2500 RECORDER, P/N 056849, S/N 8448-70847-674-32 | 1 | EA
10089298 | Measuring, observing | Process Control | 1017 | ELEMENT, CONDUCTIVITY, INSERTION, L & N | CELL, CONDUCTIVITY, ELEMENT, INSERTION, TO FIT REMOVABLE TYPE ASSEMBLY, SULFUR UNLOADING CE-537 A& B, LEEDS <(>&<)> NORTHRUP, 4908-01-33-088-20-02-000 | 1 | EA
10089534 | Measuring, observing | Process Control | 1017 | PREAMP, PH, L & N P/N 022586, 5 VOLT, FO | BOARD, PRINTED CIRCUIT, 5V, PRE-AMPLIFIER, FOR USE WITH MODEL 7079 PH MONITOR, LEEDS & NORTHRUP, 22586 | 3 | EA
10089539 | Pipe & Fittings, Com | Pipe, Valves & Fittings | 1017 | VALVE, FOXBORO P/N 0051356 | VALVE, HIGH TEMPERATURE, 1", 350 DEG F, NPT, 316 SS BODY, EPDM SEAL, HIGH TEMPERATURE AND PRESSURE, FOXBORO, 0051356 | 1 | EA
10089668 | Specialty fasteners | Pipe, Valves & Fittings | 1017 | LOCKNUT, FOXBORO P/N 27055016 | NUT, LOCK, FOR 871CC CONTACT CONDUCTIVITY SENSOR, FOXBORO, 2705-16 | 1 | EA
10089669 | Hardware (inc. stand | Fasteners | 1017 | NUT, HEX, FOXBORO P/N 2705-017 | NUT, HEX, FOR 871CC CONTACT CONDUCTIVITY SENSOR, FOXBORO, 2705-17 | 1 | EA
10089711 | Measuring, observing | Process Control | 1017 | TRANSMITTER, PH, 2-WIRE, APT2000PH, LOOP | TRANSMITTER, 4-20MA, 2 WIRE, LOOP POWERED, INTRINSICALLY SAFE RATED, HART SINGLE OUTPUT, NON-HART, DURAFET II & DURAFET III PROBES REQUIRE "CAP ADAPTOR AMPLIFIER" CABLE, HONEYWELL, APT2000PH-0-IS-E00 | 2 | EA
10089758 | Measuring, Observing | Laboratory Equipment | 1017 | VALVE, SOLENOID, FOXBORO P/N XP003NB | VALVE, SOLENOID, 120V, FOR 931C GAS CHROMATOGRAPH, PROJECT #P1000476, FOXBORO, XP003NB | 1 | EA
10089759 | Measuring, Observing | Laboratory Equipment | 1017 | SWITCH, HEATER PRESSURE, FOXBORO P/N AS0 | SWITCH, PRESSURE, HEATER, 110/120V, FOR 931C GAS CHROMATOGRAPH, PROJECT #P1000476, FOXBORO, AS012DG | 1 | EA
10089760 | Measuring, Observing | Laboratory Equipment | 1017 | KEYBOARD, FOXBORO P/N AS011ZE | KEYBOARD, P/N AS011ZE, FOR FOXBORO 931C GAS CHROMATOGRAPH, PROJECT NO. P1000476 | 1 | EA
10089761 | Measuring, Observing | Laboratory Equipment | 1017 | PWA, DIGITAL AUTO ZERO, FOXBORO P/N AT01 | BOARD, PRINTED CIRCUIT, PRINTED WIRE ASSEMBLY, DIGITAL AUTO ZERO, FOR 931C GAS CHROMATOGRAPH, PROJECT #P1000476, FOXBORO, AT013AS | 2 | EA
10089762 | Measuring, Observing | Laboratory Equipment | 1017 | PWA, SOLID STATE CONTROL RELAY, FOXBORO | BOARD, PRINTED CIRCUIT, PRINTED WIRE ASSEMBLY, SOLID STATE CONTROL RELAY, FOR 931C GAS CHROMATOGRAPH, PROJECT #P1000476, FOXBORO, AT008TD | 1 | EA
10089763 | Measuring, Observing | Laboratory Equipment | 1017 | PWA, 8 CHANNEL TREND, FOXBORO P/N AT009B | BOARD, PRINTED CIRCUIT, PRINTED WIRE ASSEMBLY, 8 CHANNEL TREND, FOR 931C GAS CHROMATOGRAPH, PROJECT #P1000476, FOXBORO, AT009BZ | 1 | EA
10089792 | Measuring, observing | Process Control | 1017 | POTENTIOMETER, ASSEMBLY, P/N GO114LM, FO | POTENTIOMETER, ASSEMBLY, FOR FOXBORO 227S RECORDER, FOXBORO, G0114LM | 1 | EA
10089831 | Depth gauges (Level | Process Control | 1017 | DISPLAY, LIQUID CRYSTAL, FOXBORO PO152CK | DISPLAY, LIQUID CRYSTAL, FOR TRANSMITTER 8000-SA10, FOXBORO, P0152CKLCD | 1 | EA
10089976 | Flow measuring instr | Process Control | 1017 | PWA, PULSE P/N M0156AL HIGH RATE SCALED | BOARD, PRINTED CIRCUIT, PRINTED WIRE ASSEMBLY, HIGH RATE SCALED, CODE - G, FOR MODEL 896 STYLE A TRANSMITTER FOXBORO 2800 SERIES MAGFLOWMETERS, FOXBORO, M0156AL | 1 | EA
10089977 | Measuring, observing | Process Control | 1017 | POWER SUPPLY, P/N M0156AV FOR MODEL 896 | POWER SUPPLY, FOR MODEL 896 STYLE A TRANSMITTER FOXBORO 2800 SERIES MAGFLOWMETERS, FOXBORO, M0156AV | 2 | EA
10090107 | Valves, Special | Pipe, Valves & Fittings | 1017 | ASSEMBLY, MANIFOLD VALVE, P/N C0156AB | MANIFOLD, VALVE, ASSEMBLY, FOXBORO, C0156AB | 4 | EA
10090141 | Mill Supplies | Industrial Supplies | 1017 | CONTROLLER, MOTOR SPEED, ASEA BROWN BOVE | CONTROLLER, MOTOR SPEED, 230V 4A 1PH, 1 HP NEMA 1 ENCL SERIES LC, ABB, F00432A40 | 1 | EA
10090153 | DO NOT USE-ADVANSIX |  | 1017 | ELEMENT, MEASURING, RANGE 100 TO 300 PSI | ELEMENT, MEASURING, RANGE 100 TO 300 PSI, FOR FOXBORO MODEL 43AP CONTROLLER S/N 2897318 | 2 | EA
10090308 | Gaskets, valve & pum | Hoses & Gaskets | 1017 | GASKET, FOXBORO P/N D0120AC FOXBORO INTE | GASKET, 1/2", GLASS FILLED PTFE, INTEGRAL ORIFICE METER, MODEL# IP0A-OHS5SF, FOXBORO, D0120AC | 8 | EA
10090339 | Measuring, observing | Process Control | 1017 | KIT, ELECTRODE W/ELECTRODE, KEEPER AND R | KIT, ELECTRODE, KEEPER AND REMOVAL TOOL, MODEL 871PH-1F1A PH MONITOR, FOXBORO, BS805MD | 3 | EA
10090340 | Measuring, observing | Process Control | 1017 | KIT, REFERENCE REFILL, W/REFERENCE JUNCT | KIT, REFERENCE REFILL, WITH REF JUNCTION, ELECTROLYTE AND REMOVAL TOOL, MODEL 871PH-1F1A PH MONITOR, FOXBORO, 0022703 | 3 | EA
10090383 | Flow measuring instr | Process Control | 1017 | CALIBRATION PLUG ADAPTER FOR TESTING OF | ADAPTER, CALIBRATION PLUG, FOR TESTING OF FOXBORO FLOWMETER AMPLIFIER/SENSOR, FOXBORO, B0137VY | 2 | EA
10090557 | Measuring, observing | Process Control | 1017 | TRANSMITTER, PH, 4-WIRE, UDA2182, CHANNE | TRANSMITTER, PH, 4-WIRE, 4-20MA, STANDARD 2 RELAYS, NO COMMUNICATIONS PROTOCOL, NO MOUNTING HARDWARE OR MANUALS, CD INSTRUCTIONS, CHANNEL, HONEYWELL, UDA2182-PH1-NN2-NN-N-0000 | 2 | EA
10090558 | Measuring, observing | Process Control | 1017 | PROBE, PH, MERIDIAN II, 12FT CABLE, 1/2" | PROBE, PH, MERIDIAN II, 12FT CABLE, 1/2"x5" PROBE, CABLE MOLDED TO PROBE, HONEYWELL # 31050381-501 | 6 | EA
10090717 | DO NOT USE-ADVANSIX |  | 1017 | MODULE, MEMORY, P/N K0141LA FOXBORO MODE | MODULE, MEMORY CHIP, MODEL 761-CSA CONTROLLER, FOXBORO, K0141LA | 1 | EA
10090749 | Temperature and heat | Process Control | 1017 | COMPENSATOR, TEMPERATURE, WITH 6" WIRE, | COMPENSATOR, TEMPERATURE, WITH 6" WIRE, HONEYWELL, 31022289-501 | 8 | EA
10090754 | Pressure measuring a | Process Control | 1017 | ELEMENT, PRESSURE, REPLACEMENT FOR FOXBO | ELEMENT, 1/2" NPT, 316 SS, PRESSURE REPLACEMENT FOR 316 SS 200-600 PSIG NORMAL 400 PSI MAX 450 CONN, FOXBORO, 4581057 | 2 | EA
10090808 | Pressure measuring a | Process Control | 1017 | MODULE, POTTED, P/N B0139FY FOXBORO 821A | MODULE, PRESSURE TRANSMITTER LOW RANGE, POTTED, 4-20MA, 821AL ISISL2-AM, FOXBORO, B0139FY | 1 | EA
10090834 | Flow measuring instr | Process Control | 1017 | MODULE, ELECTRONICS, CALIBRATED, P/N L01 | MODULE, CALIBRATED, FLOW TRANSMITTER, ELECTRONICS, IMT 10, FOXBORO, L0113MV | 1 | EA
10090835 | Measuring, observing | Process Control | 1017 | SUPPLY, POWER, 120V 50HZ, P/N L0113MG FO | POWER SUPPLY, 120V 50HZ INPUT, FLOW TRANSMITTER, IMTIO, FOXBORO, L0113MG | 1 | EA
10090843 | Pressure measuring a | Process Control | 1017 | FLEXURE, ASSEMBLY, PN N0148FE FOR FOXBOR | ASSEMBLY, FLEXURE, FOR FOXBORO MODEL E13DM TRANSMITTER, S/N 3984303, FOXBORO, N0148FE | 3 | EA
10090867 | Measuring, observing | Process Control | 1017 | PROBE, VIBRATION, 0.190 TIP WITH 3/8" BO | PROBE, VIBRATION, 3/8" X 7" LG, 30" CABLE LG, FROM TIP TO CONNECTOR, API CONNECTOR, 0.190 TIP, BENTLY NEVADA, 190-04-02-12-30-02 | 1 | EA
10090868 | DO NOT USE-ADVANSIX |  | 1017 | MEASURING ELEMENT 0-300 PSI | ELEMENT, MEASURING 0-300 PSI HELICAL FOR FOXBORO PROPORTIONAL PRESSURE CONTROLLER, S/N 559590 | 1 | EA
10090869 | Pressure measuring a | Process Control | 1017 | MEASURING ELEMENT, 0-100 MM | ELEMENT, MEASURING 0-100 MM BRASS BELLOWS FOR FOXBORO PRESSURE TRANSMITTER MODEL 42, S/N 571144 | 1 | EA
10090915 | Measuring, observing | Process Control | 1017 | INDICATOR, ELECTRONIC, FOXBORO MODEL 210 | INDICATOR, ELECTRONIC, FOXBORO, 210S-1+2AX+DIO | 1 | EA
10090922 | Process Controls (DC | Process Control | 1017 | UNIT, CONTROL, MANUAL, AUTO-MAN., P/N 30 | CONTROL, UNIT, OUTPUT PANEL METER, MANUAL AUTO-MAN, FOR 2 MODE ELECTRONIC CONTROLLER, MODEL FOXBORO 230SM-T, FOXBORO, N0309ZV | 1 | EA
10090942 | Pressure measuring a | Process Control | 1017 | SCREW ASSEMBLY, (INCL. 2 O-RINGS), P/N C | SCREW, ASSEMBLY, WITH (2) O-RINGS FOR PNEUMATIC TRANSMITTER REPEATER P/N 13R-HS, FOXBORO, C0130EF | 1 | EA
10090985 | Depth gauges (Level | Process Control | 1017 | CABLE, #X170EC, 25 FT., FOR FLOAT & CABL | CABLE, 25' LG, FOR FLOAT & CABLE TRANSMITTER MODEL M40N/MC-A-E, TAG #FT-302 0202, 0102, FOXBORO, X170EC | 1 | EA
10090987 | Laboratory Equipment | Laboratory Equipment | 1017 | SCALE, 0-100 UNIFORM #U-0119AB, WITH FRA | SCALE, 0-100, UNIFORM WITH FRAME U0119AA, FOXBORO, U0119AB | 4 | EA
10091004 | Bushings | Power Transmission | 1017 | BUSHING, DRIVEN P/N G0103CL | BUSHING, DRIVEN, FOXBORO, G0103CL | 8 | EA
10091017 | Electrical Parts | Industrial Supplies | 1017 | PROBE, PH, SEVERE SERVICE, W/15FT CABLE, | PROBE, PH, 15' LG CABLE, SEVERE SERVICE, 100 MM LG INSERTION, KYNAR BODY, VITON O-RING, HONEYWELL, HB551-BVSR-SKSX-15ST-000 | 3 | EA
10091020 | Equipment Material H | Custom Machinery | 1017 | UNIT, MASTER PNEUMATIC IMPULSE TYPE B-3E | UNIT, MASTER PNEUMATIC IMPULSE, 1 RPM, 110V 60HZ, TYPE B-3EP, FOXBORO, M0146MN | 1 | EA
10091024 | Specialty fasteners | Pipe, Valves & Fittings | 1017 | HINGE, ASSEMBLY, RIGHT HAND, FOR MODEL 5 | HINGE, RH, ASSEMBLY, FOR MODEL 54 RECORDER, FOXBORO, U112NM | 1 | EA
10091025 | Specialty fasteners | Pipe, Valves & Fittings | 1017 | HINGE, ASSEMBLY, LEFT HAND, FOR MODEL 54 | HINGE, LH, ASSEMBLY, FOR MODEL 54 RECORDER, FOXBORO, U112MZ | 1 | EA
10091039 | Measuring, observing | Process Control | 1017 | TUBE, SARAN, PN U-112-NR, FOR FOXBORO MO | TUBE, SARAN, FOR FOXBORO MODEL 54 RECORDER, FOXBORO, U112NR | 2 | EA
10091040 | Measuring, observing | Process Control | 1017 | ASSEMBLY, CHECK VALVE, P/N U-107-CS, FOX | VALVE, CHECK, ASSEMBLY, 54 RECORDER, FOXBORO, U107CS | 1 | EA
10091042 | DO NOT USE-ADVANSIX | Power Distribution | 1017 | LINK, ADJUSTABLE, 54 TO 67 MM, P/N X0101 | LINK, ADJUSTABLE, 54-67 MM, FOR 2-MODE PNEUM. CONTROLLER, FOXBORO MODEL 130F-N4, FOXBORO, X0101EF | 3 | EA
10091044 | Pressure measuring a | Process Control | 1017 | CAPSULE ASSEMBLY, 316 S/S, SILICONE FILL | CAPSULE, ASSEMBLY, SILICONE FILLED, 0-25", 316 SS, FOR FOXBORO MODEL 15A-1 DIFFERENTIAL PRESSURE TRANSMITTER, S/N 914870, 500 PSI, FOXBORO, N0150TN | 1 | EA
10091045 | Pressure measuring a | Process Control | 1017 | FLEXURE, "C", FOXBORO P/N D0114XZ, 316SS | ASSEMBLY, FLEXURE, FOR FOXBORO MODEL 15A-1 DIFFERENTIAL PRESSURE TRANSMITTER, S/N 914870, 316 S/S, 500 PSI, "C", FOXBORO, D0114XZ | 4 | EA
10091046 | Pressure measuring a | Process Control | 1017 | KIT, ELEVATION, P/N U0122BS, FOR FOXBORO | KIT, ELEVATION, FOR FOXBORO D/P CELL, FOXBORO, U0122BS | 1 | EA
10091047 | Pressure measuring a | Process Control | 1017 | KIT, SUPPRESSION, P/N U0122BA, FOR FOXBO | KIT, SUPPRESSION, FOR FOXBORO D/P CELL, FOXBORO, U0122BA | 1 | EA
10091048 | Pressure measuring a | Process Control | 1017 | BASE, P/N U0102NY, FOR FOXBORO 13A D/P C | BASE, FOR FOXBORO 13A D/P CELL, S/N 2168968, FOXBORO, U0102NY | 2 | EA
10091049 | Pressure measuring a | Process Control | 1017 | SCALE, RANGE 0-200" TO 0-850" H20, P/N D | SCALE, 0-200 - 0-850" WC, FOR FOXBORO 13A D/P CELL, S/N 2168968, FOXBORO, D0117FC | 2 | EA
10091051 | Valves, Control (and | Process Control | 1017 | ASSEMBLY, DIAPHRAGM, P/N D0117KC, TYPE 1 | DIAPHRAGM, ASSEMBLY, TYPE 13FA1, S/N 560421, RANGE 0-850" H20, FOR FOXBORO D.P. CELL, FOXBORO, D0117KC | 1 | EA
10091052 | Depth gauges (Level | Process Control | 1017 | RING, RETAINING, FOR FOXBORO MODEL 13F T | RING, RETAINING, FOR 316 SS TANTALUM SHEATHED MODEL 13F TRANSMITTER, FOXBORO, D0120RZ | 1 | EA
10091053 | Pressure measuring a | Process Control | 1017 | ASSEMBLY, DIAPHRAGM, P/N N0148QS, S/N 56 | DIAPHRAGM, 316 SS, ASSEMBLY, S/N 560426, RANGE 0-250" H20, FOR FOXBORO D.P. CELL, FOXBORO, N0148QS | 1 | EA
10091054 | Pressure measuring a | Process Control | 1017 | ASSEMBLY, DIAPHRAGM, 5" SHAFT, MEDIUM RA | CAPSULE, DIAPHRAGM, ASSEMBLY, 5" SHAFT, MEDIUM RANGE, WETTED PARTS TANTALUM, FOXBORO, N0151SB | 1 | EA
10091056 | Flow measuring instr | Process Control | 1017 | FORCE BAR ASSEMBLY P/N U-102-LC, INCLUDE | BAR, FORCE, ASSEMBLY, FOR LIQUID FLOW TRANSMITTER MODEL 13A-1 D/P CELL, S/N 861581, FOXBORO, U102LC | 1 | EA
10091058 | Pressure measuring a | Process Control | 1017 | PRESSURE UNIT, #C0123BA | UNIT, PRESSURE, FOR CONSOTROL INDICATING CONTROLLER STABILOG, FOXBORO, C0123BA | 1 | EA
10091059 | DO NOT USE-ADVANSIX | Mail Machines & Books | 1017 | ASSEMBLY, MANUAL CENTRAL UNIT, P/N C-123 | ASSEMBLY, MANUAL CENTRAL UNIT, FOR CONSOTROL INDICATING CONTROLLER STABILOG, FOXBORO, C123BT | 1 | EA
10091060 | Pressure measuring a | Process Control | 1017 | WHEEL, TURBINE ASSEMBLY, FOXBORO P/N U01 | WHEEL, TURBINE ASSEMBLY, FOXBORO P/N U012ODS, CONSISTING OF WHEEL ASSEMBLY P/N U0119YR AND FLEXURE ASSEMBLY P/N U0119YU, FOR FOXBORO TYPE 14A PNEUMATIC INTEGRATOR | 2 | EA
10091118 | Depth gauges (Level | Process Control | 1017 | DIAPHRAGM, ASSEMBLY, FOXBORO CO. P/N NO9 | CAPSULE, DIAPHRAGM, ASSEMBLY, 250-850" WATER, SS, RANGE 0-200 TO 0-850 INCHES OF WATER, FOXBORO, N0999KP | 1 | EA
10091135 | Measuring, observing | Process Control | 1017 | UNIT, CONTROL ITEM 28, PN C0136HV, PROPO | CONTROL, UNIT, PROPORTIONAL & RESET, ITEM 28, FOR FOXBORO FIELD MOUNTED PNEUMATIC, CONTROLLER MODEL 43AP, STYLE B, FOXBORO, C0136HV | 2 | EA
10091141 | Pressure measuring a | Process Control | 1017 | CAPSULE, HIGH RANGE, P/N D0123BT, FOR EL | CAPSULE, HIGH RANGE, 0-375 MM HG/0-1520 MM HG, 316 SS, FOR ELECTRONIC ABSOLUTE PRESS TRANSMITTER, FOXBORO MODEL E11AM-ISAM2, FOXBORO, D0123BT | 2 | EA
10091147 | DO NOT USE-ADVANSIX |  | 1017 | ELEMENT, REPLACEMENT, RECEIVER BELLOWS P | ELEMENT, REPLACEMENT, RECEIVER BELLOWS PB-AA, CALIBRATED TO A PRESSURE RANGE OF 300 TO 600 PSI FOR FOXBORO MODEL #43AP-FA42C, FOXBORO ORDER #82X10746 | 1 | EA
10091161 | Electrical Parts | Industrial Supplies | 1017 | PROBE, PH, MERIDIAN II, MEASURING, GLAS | PROBE, PH ELECTRODE MERIDIAN II MEASURING, GLASS, FOR 3 PROBE HOLDER, TEMPERATURE RANGE -5 TO 100 DEG C, HONEYWELL, 31117390-501 | 8 | EA
10091163 | Electrical Parts | Industrial Supplies | 1017 | PROBE, TEMPERATURE, COMPENSATOR, FOR PH, | PROBE, TEMPERATURE, COMPENSATOR, FOR PH METER, HONEYWELL, 152137 | 11 | EA
10091168 | Pressure measuring a | Process Control | 1017 | CAPSULE, "D", FOR RANGE 100 TO 1000 PSI, | CAPSULE, DESIGNATION-D, 100-1000 PSI, 316 SS, FOR FOXBORO GAGE PRESS TRANSMITTER MODEL 11GM-BS-2, FOXBORO, P0121AR | 2 | EA
10091175 | Measuring, observing | Process Control | 1017 | MOLDING, BUSHING P/N U0107CX | BUSHING, MOLDING, FOR MODEL 54 RECORDER, FOXBORO, U0107CX | 4 | EA
10091181 | Measuring, observing | Process Control | 1017 | UNIT, RATIO ASSEMBLY, RATIO, 0 TO 3.0 LI | UNIT, RATIO ASSEMBLY, 0-3 LINEAR, FOR 2 MODE PNEUMATIC RATIO CONTROLLER MODEL 130ZYN4, FOXBORO, C0139AA | 1 | EA
10091183 | Flow measuring instr | Process Control | 1017 | SWITCH ASSEMBLY, P/N C0135PR, FOR 2 MODE | SWITCH, ASSEMBLY, FOR 2 MODE PNEUMATIC RATIO CONTROLLER, MODEL 130ZYN4, FOXBORO, C0135PR | 2 | EA
10091219 | Process Controls (DC | Process Control | 1017 | MODULE, INPUT, MODEL FOXBORO 2A1-12V PLU | MODULE, INPUT, 1-12V 2A, FOXBORO, 2A1-12V-FGB | 2 | EA
10091230 | Measuring, observing | Process Control | 1017 | CASSETTE ASSEMBLY, CHART DRIVE, P/N G010 | ASSEMBLY, CHART DRIVE, CASSETTE, FOR 2 PEN PNEUM. RECORDER, FOXBORO, G0109LA | 6 | EA
10091298 | Measuring, observing | Process Control | 1017 | PROBE, 300-04-02-12-18-02, FOR BENTLEY N | PROBE, FOR BENTLEY NEVADA MONITOR, BENTLY NEVADA, 300-04-02-12-18-02 | 1 | EA
10091299 | Measuring, observing | Process Control | 1017 | PROBE, 300-00-00-30-12-02, FOR BENTLEY N | PROBE, FOR BENTLEY NEVADA MONITOR, BENTLY NEVADA, 300-00-00-30-12-02 | 3 | EA
10091301 | Measuring, observing | Process Control | 1017 | PROBE, 300-00-00-15-12-02, FOR BENTLEY N | PROBE, FOR BENTLEY NEVADA MONITOR, BENTLY NEVADA, 300-00-00-15-12-02 | 1 | EA
10091303 | Electrical Parts | Industrial Supplies | 1017 | PROBE, 300-00-00-60-30-02, FOR BENTLEY N | PROBE, FOR BENTLEY NEVADA MONITOR, BENTLY NEVADA, 300-00-00-60-30-02 | 1 | EA
10091421 | Hoses and Components | Hoses & Gaskets | 1017 | O-RING, FILTER, P/N 111017 ANARAD CONTRO | O-RING, FILTER, ANARAD CONTROL SYSTEM, S/N 4813, C/N 10381, 111017 | 8 | EA
10091422 | Electrical Parts | Industrial Supplies | 1017 | FERRULE SET, 1/4", P/N 261421 ANARAD CON | FERRULE SET, 1/4", S/N 4813, C/N 10381, ANARAD CONTROL SYSTEM, 261421 | 4 | EA
10091423 | Electrical Parts | Industrial Supplies | 1017 | FERRULE SET, 3/8", P/N 261422 ANARAD CON | FERRULE SET, 3/8", S/N 4813, C/N 10381, ANARAD CONTROL SYSTEM, 261422 | 4 | EA
10091549 | Mill Supplies | Industrial Supplies | 1017 | CAPSULE, DESIGNATION "B", P/N PO121AM, F | CAPSULE, DESIGNATION-B, 20-200 PSI, 316 SS, FOR FOXBORO MODEL 11GM-BS-2, S/N 4804091, B, FOXBORO, P0121AM | 1 | EA
10091569 | Flow measuring instr | Process Control | 1017 | FLAPPER, PN NO999MH FOR FOXBORO PNEUMATI | FLAPPER, FOR PNEUMATIC PRESSURE TRANSMITTER MODEL 11GM-CS1, FOXBORO, N0999MH | 4 | EA
10091570 | Gaskets, valve & pum | Hoses & Gaskets | 1017 | O-RING, SILCICONE, -029, 1-1/2" X 1-5/8" | O-RING, 1-1/2" ID X 1-5/8" OD X 1/16" WD, SILICONE, -029, FOXBORO, P0120FS | 10 | EA
10091573 | Depth gauges (Level | Process Control | 1017 | TRANSMITTER ASSEMBLY P/N UO110BX MODEL 4 | TRANSMITTER, ASSEMBLY, FOR FOXBORO MODEL 44 TRANSMITTER, FOXBORO, U0110BX | 1 | EA
10091593 | Valves, Control (and | Process Control | 1017 | REGULATOR ASSEMBLY, PN C0140PE FOR FOXBO | REGULATOR, ASSEMBLY, FOR PNEUMATIC INDICATING CONTROLLER MODEL 43AP-PA42C/TA-1A, FOXBORO, C0140PE | 1 | EA
10091692 | Pressure measuring a | Process Control | 1017 | DIAPHRAGM ASSEMBLY, MEDIUM RANGE, P/N NO | DIAPHRAGM, MEDIUM RANGE, ASSEMBLY, S/N 560426, RANGE 0-250" H20, FOR FOXBORO D.P. CELL, FOXBORO, N0142NU | 1 | EA
10091727 | Electrical Parts | Industrial Supplies | 1017 | SENSOR, HI RANGE, PN B0139SZ FOR FOXBORO | SWITCH, PRESSURE, HIGH, 4-20MA OUTPUT, FOR MODEL 823DP 13S1SH2 TRANSMITTER, REF 4504085, FOXBORO, B0139SZ | 1 | EA
10091791 | Flow measuring instr | Process Control | 1017 | BELLOWS ASSEMBLY, P/N U0119TC | BELLOWS, ASSEMBLY, FOR LIQUID FLOW TRANSMITTER TYPE 13A D/P CELL, FOXBORO, U0119TC | 1 | EA
10091871 | Flow measuring instr | Process Control | 1017 | NOZZLE ASSEMBLY, P/N U0119TB | NOZZLE, FOR LIQUID FLOW TRANSMITTER TYPE 13A D/P CELL, FOXBORO, U0119TB | 1 | EA
10091916 | Specialty fasteners | Pipe, Valves & Fittings | 1017 | HOLDER, SPRING P/N U0102KR | HOLDER, SPRING, SPRING, FOR LIQUID FLOW DIFFERENTIAL PRESSURE TRANSMITTER TYPE 13A, FOXBORO, U0102KR | 1 | EA
10091925 | Temperature and heat | Process Control | 1017 | SPRING, C0135YE FOR TT-601, FOXBORO MODE | SPRING, FOR TT-601 MODEL 12-A TEMP TRANSMITTER, FOXBORO, C0135YE | 1 | EA
10091985 | Flow measuring instr | Process Control | 1017 | SPRING P/N U0102FX | SPRING, FOR LIQUID FLOW TRANSMITTER TYPE 13A D/P CELL, FOXBORO, U0102FX | 3 | EA
10092025 | Electrical Parts | Industrial Supplies | 1017 | CHAMBER, FLOW, PLASTIC, FOR PH PROBES, 7 | CHAMBER, FLOW, PLASTIC, FOR PH PROBES, 7773 7773D, FOR WITH DURAFET OR MERIDIAN PH PROBES, HONEYWELL, 31182157-501 | 2 | EA
10092064 | Filters (Air, Water, | Filtration | 1017 | SCREEN P/N D-114-FL | DISC, SCREEN, FOR FOXBORO LIQUID FLOW TRANSMITTER TYPE 13-A D/P CELL, FOXBORO, D114FL | 4 | EA
10092135 | Pressure measuring a | Process Control | 1017 | ELEMENT, MEASURING, STAINLESS STEEL HELI | ELEMENT, MEASURING, STAINLESS STEEL HELICAL. RANGE 0-800 LBS. FOR FOXBORO TRANSMITTER MODEL 45P-F2/PB- AA, S/N 405 3488, RANGE 0-800 LBS | 1 | EA
10092166 | Electrical Parts | Industrial Supplies | 1017 | PROBE, PH, DURAFET III, W/O TIP GUARD, V | PROBE, DURAFET III PH, W/O TIP GUARD, VARIO PIN CONNECTOR, NO CABLE, 3/4" NPT X 8.83" LG, HONEYWELL, 07777DVP-03-00 | 12 | EA
10096676 | Mill Supplies | Industrial Supplies | 1017 | BREATHER, TUBE ASSEMBLY, P/N 1054, ENVIR | BREATHER, TUBE ASSEMBLY, FOR GRINDER PUMP MODELS 212 & 214, S/N'S 212-3866 THRU 212-3870 AND 210-3845 THRU 210-3864, ENVIRONMENT ONE CORP, 1054 | 4 | EA
10228652 | Measuring, Observing | Laboratory Equipment | 1017 | PRINTER, SHIMADZU P/N 638-54026-01 | PRINTER, SHIMADZU P/N 638-54026-01 | 1 | EA
10236492 | Measuring, observing | Process Control | 1017 | TRANSMITTER, PH, 4-WIRE, APT4000PH, 20-2 | TRANSMITTER, 4-20MA, 20-253V, 4 WIRE, CLASS 1, DIVISION 2, 2, DURAFET II & DURAFET III PROBES REQUIRE "CAP ADAPTOR AMPLIFIER" CABLE, HONEYWELL, APT4000PH-E00 | 2 | EA
10281767 | Valves, Relief (and | Process Control | 1017 | DISC, RUPTURE, CDC TYPE VRD, SIZE 3" | DISC, RUPTURE, CDC TYPE VRD 3" RD-14001, DISC, BURST PRESSURE 14.5-PSIG @ 350F, 5% MANUFACTURE RANGE, 3316 SS, FOR CL-23 | 4 | EA
10281768 | Valves, Relief (and | Process Control | 1017 | DISC, RUPTURE, CDC TYPE VRD, SIZE 6" | DISC, RUPTURE, CDC TYPE VRD, SIZE 6" RD-14002, BURST PRESSURE 15 PSIG @ 350F, 5% MANUFACTURE RANGE, 316SS, FOR CL-24 | 2 | EA
10287098 | Pressure measuring a | Process Control | 1017 | TRANSMITTER, PH, 2-WIRE, APT2000PH, LOOP | TRANSMITTER, 4-20MA, 2 WIRE, LOOP POWERED, INTRINSICALLY SAFE RATED, HART SINGLE OUTPUT, DURAFET II & DURAFET III PROBES REQUIRE "CAP ADAPTOR AMPLIFIER" CABLE, HONEYWELL, APT2000PH-H-E00 | 1 | EA
10287099 | Pressure measuring a | Process Control | 1017 | PROBE, PH, DURAFET II, COMBINATION, P/N | PROBE, DURAFET II PH, FOR TW-95 SPEC CHEM, HONEYWELL, 51204976-501 | 6 | EA
10294304 | Flow measuring instr | Process Control | 1017 | KIT, PREAMP, INSTALL IN HONEYWELL 9782 | KIT, PREAMP, INSTALL IN HONEYWELL 9782 PH ANALYZER, TW-48 PH METER, HONEYWELL, 51198056-501 | 1 | EA
10303771 | Process Controls (DC | Process Control | 1017 | PROBE, PH, DURAFET II, REMOTE, IMMERSIO | PROBE, DURAFET II PH, 3/4" X 6", REMOTE, IMMERSION, DLS421 (7777) WITH TIP GUARD, FOR IN-LINE OR IMMERSION MOUNTING, HONEYWELL, 51205554-002 | 4 | EA
10303964 | Measuring, Observing | Laboratory Equipment | 1017 | LAMP, HALOGEN, SHIMADZU ANALYZER, SHIMAD | LAMP, HALOGEN, 50W, 12V, SHIMADZU, 062-65004-06 | 3 | EA
10304223 | Measuring, Observing | Laboratory Equipment | 1017 | LAMP, SHIMADZU D2, P/N 062-65055-05, LAB | LAMP, DEUTERIUM, D2 LAB, SHIMADZU, 062-65055-05 | 2 | EA
10311312 | Temperature and heat | Process Control | 1017 | CABLE, 50', ADAPTER, CAP, DURAFET III, W | CABLE, DURAFET III ELECTRODE ADAPTER, 50' LG, WITH VARIO 11 PIN CONNECTOR & AMPLIFIER, FOR APT2000 OR APT4000, HONEYWELL, 5145 3388-002 | 3 | EA
10312400 | Process Controls (DC | Process Control | 1017 | TRANSMITTER, PH, FRONT DOOR FOR UDA2182, | TRANSMITTER, PH, FRONT DOOR FOR UDA2182, NO ENCL, HONEYWELL, UDA2182 (51453518-502) | 1 | EA
10314871 | Electrical Parts | Industrial Supplies | 1017 | HEATER, OVERLOAD, THERMAL, PACK SIZE | ELEMENT, HEATER OVERLOAD, THERMAL, H2022-3, NEMA 3-4 (A), 62.2-84.6A 3/PKG, CUTLER-HAMMER, H2022-3 | 1 | EA
10317422 | Measuring, Observing | Laboratory Equipment | 1017 | LAMP, TUNGSTEN, FOR SHIMADZU, P/N 062-65 | LAMP, TUNGSTEN HALOGEN, 20W, 12V, SHIMADZU, 062-65005-00 | 2 | EA
10321787 | Flow measuring instr | Process Control | 1017 | FLOWMETER, CORIOLIS, (EUROPEAN FLANGE), | METER, FLOW, 316 SS, INTERGRAL MOUNTED TRANSMITTER, CORIOLIS, EUROPEAN FLANGE, PN40 DIN2501 FLANGE METRIC, 316L PROCESS CONNECTION, BASIC VERSION, 0.15% = 0.0005G/CC CALIBRATION ACCURACY, NON-HAZARDOUS LOCATION RATED, STANDARD AL, ENDRESS <(>&<)> HAUSER, | 1 | EA
10324130 | Temperature and heat | Process Control | 1017 | CABLE, 20', ADAPTER, CAP, DURAFET III, | CABLE, DURAFET III ELECTRODE ADAPTER, 20' LG, WITH VARIO 11 PIN CONNECTOR & AMPLIFIER, FOR APT2000 OR APT4000, HONEYWELL, 5145 3388-001 | 4 | EA
10324181 | Temperature and heat | Process Control | 1017 | CABLE, 20', UDA2182, DURAFET III, WITHOU | CABLE, DURAFET III ELECTRODE, 20' LG, DIRECT UDA2182 CONNECTION WITH VARIO 11 PIN CONNECTOR W/O AMPLIFER, FOR UDA2182-PH1 ONLY, AMPLIFIER IS IN TRANSMITTER, HONEYWELL, 50001391-001 | 1 | EA
10324816 | Electrical Parts | Industrial Supplies | 1017 | PROBE, PH WITH 20' CABLE, MEREDIAN II, 0 | PROBE, PH, 20' LG CABLE, MEREDIAN II, 0-80 DEG C, RYTON BODY, SMOOTH TIP, CERAMIC JUNCTION, GLASS MEMBRANE, 3/4" NPT MOUNTING, DIRECT CONNECTION TO UDA2182, APT2000, APT4000, HONEYWELL, 51451326-504 | 5 | EA
10580422 | Measuring, observing | Process Control | 1017 | PROBE, PH, SEVERE SERVICE, HONEYWELL HB5 | PROBE, PH, 15' LG CABLE, SEVERE SERVICE, 70 MM LG INSERTION, KYNAR BODY, VITON O-RING, INSTALL WITH PROBE ADAPTER P/N 50027407-005, SAP #10580423, HONEYWELL, HB551-BVSR-SKSN-15ST-000 | 3 | EA
10591626 | Electronic Parts | Industrial Supplies | 1017 | CONNECTOR, FEMALE, FOR WIRING REMOTE RTD | CONNECTOR, ELECTRICAL, FEMALE, FOR WIRING REMOTE RTD INTO SENSOR PORT PO177GZ AREA 9 ACID ANALYZERS, FOXBORO, P0177GZ | 2 | EA
10642410 | Electrical Parts | Industrial Supplies | 1017 | CABLE, RIBBON, FOR UDA2182, 1/2"x8", GOE | CABLE, RIBBON, 1/2" X 8", DIRECT UDA2182 CONNECTION FOR DISPLAY, GOES BETWEEN THE FRONT DISPLAY BOARD AND THE BACK CPU BOARD, HONEYWELL, 50000556-501 | 6 | EA
10084751 |  |  | 1017 | DISC,RUPTURE,CDC TYPE VRD, SIZE 1.5" | DISC, RUPTURE, 1-1/2" DIA, 136.5 PSI AT 200 DEG F, NICKEL, 5% MANUFACTURING RANGE WITH TEFLON LINER ON PROCESS SIDE, DISC MUST BE MA NUFACTURED, CERTIFIED <(>&<)> STAMPED IN ACCORDANCE WITH ASME CODE, SECTION VIII WITH UD STAMP AFFIXED, CONTINENTAL DISC | 2 | EA
10086520 |  |  | 1017 | DISC, RUPTURE, CDC TYPE TK1 , SIZE 2" | DISC, RUPTURE, 2" DIA, 85-100 PSI, INCONEL/316 SS/TEFLON, TYPE TK1, 20/CTN DISC MUST BE MANUFACTURED, CERTIFIED <(>&<)> STAMPED IN A CCORDANCE WITH ASME CODE, SECTION VIII, DIVISION 1 FOR RAILROAD TANK CAR, CONTINENTAL DISC CORP | 2 | BOX
10087693 |  |  | 1017 | LINK, ADJUSTABLE P/N X0101AZ | LINK, ADJUSTABLE, RANGE 0-20" H20, FOR FOXBORO FLOWMETER, S/N 502180, FOXBORO, X0101AZ | 3 | EA
10088496 |  |  | 1017 | BALL, FOXBORO P/N U0108XS, FOR TYPE 14A | BALL, FOR TYPE 14A PNEUMATIC INTEGRATOR, S/N 1504045, (F-1), FOXBORO, U0108XS | 12 | EA
10088637 |  |  | 1017 | STRIP, FLEXTURE U0106AX FOR 12A TRANSMIT | STRIP, FLEXURE, FOR FOXBORO TYPE 12-A TEMPERATURE TRANSMITTER, S/N 498518, FOXBORO, U0106AX | 4 | EA
10088638 |  |  | 1017 | BELLOWS, FEEDBACK U0106AZ FOR 12A TRANSM | BELLOWS, FEEDBACK, FOR TYPE 12-A TEMPERATURE TRANSMITTER, S/N 498518, FOXBORO, U0106AZ | 1 | EA
10088673 |  |  | 1017 | INSULATOR, THERMOCOUPLE, PORCELAIN, 2-HO | INSULATOR, STD. 034363 OVAL, DOUBLE HOLE MAX. WIRE SIZE 14 GA., LENGTH 1.00" O.D. 1/4 X 9/32" DIA. OF HOLES .090", NBS P/N 51014-1", (250/PK) | 1 | PK
10088702 |  |  | 1017 | ELEMENT, NI-SPAN C ALLOY PRESSURE MEASUR | ELEMENT, HELICAL, 1/4" NPT, 316 SS, 0-600 PSI RANGE, FOR MODEL 44/BP PRESSURE TRANSMITTER WITH NPT FEMALE CONNECTION, NI-SPAN C ALLOY PRESSURE MEASURING, FOXBORO, PB-AA | 1 | EA
10088708 |  |  | 1017 | ASSEMBLY, CABLE, PN C0141PW FOR FOXBORO | CABLE, ASSEMBLY, FOR FOXBORO, MODEL E20S-12RB6 STYLE A, FOXBORO, C0141PW | 1 | EA
10088709 |  |  | 1017 | PWA, MOTOR DRIVE PN C0141RB FOR FOXBORO | BOARD, PRINTED CIRCUIT, PWA, MOTOR DRIVE, FOR FOXBORO MODEL E20S-12RB6 STYLE A, FOXBORO, C0141RB | 1 | EA
10088727 |  |  | 1017 | O-RING, PN GO103FP FOR FOXBORO MODEL E20 | O-RING, FOR FOXBORO MODEL E20S-12RB6 STYLE A, FOXBORO, G0103FP | 1 | EA
10089070 |  |  | 1017 | CARD, INPUT 2 POLE, MULTIRANGE L & N P/N | BOARD, PRINTED CIRCUIT, INPUT CARD, 2P MULTI-RANGE FOR MODEL 250 MULTI-POINT RECORDERS, S/N 79-45162, LEEDS & NORTHRUP, 445880 | 1 | EA
10089171 |  |  | 1017 | TUBING, NEOPRENE, R-128-AC, FOR M/5310 C | TUBING, NEOPRENE, FOR MODEL 5310 CONSOTROL PNEUMATIC RECEIVERS, S/N 281990 & 281991, FOXBORO, R-128-AC | 6 | FT
10089282 |  |  | 1017 | CARD, ANALOG, L & N P/N 063232, FOR SPEE | BOARD, PRINTED CIRCUIT, ANALOG, FOR 2500 SERIES SPEEDOMAX RECORDER P/N 056849, S/N 70847-674-32, LEEDS & NORTHRUP, 063232 | 1 | EA
10089283 |  |  | 1017 | CARD, CPU, L & N P/N 063230, FOR SPEEDOM | CARD, CPU, P/N 063230, FOR LEEDS <(>&<)> NORTHRUP SPEEDOMAX 2500 RECORDER P/N-056849, S/N 8448-70847-674-32 | 1 | EA
10089670 |  |  | 1017 | HOUSING, 316SS, FOXBORO P/N 1345018 | HOUSING, 316 SS, FOR FOXBORO 871CC CONTACT CONDUCTIVITY SENSOR, FOXBORO, 1345-018 | 1 | EA
10089791 |  |  | 1017 | MOTOR ASSEMBLY, P/N G0114BZ, FOR FOXBORO | MOTOR, ASSEMBLY, FOR FOXBORO 2275 RECORDER, FOXBORO, G0114BZ | 1 | EA
10089793 |  |  | 1017 | BOARD, PWA DRIVE CIRCUIT, P/N GO114AW, F | BOARD, PRINTED CIRCUIT, PWA, DRIVER, FOR FOXBORO 227S RECORDER, FOXBORO, G0114AW | 1 | EA
10089794 |  |  | 1017 | BOARD, PWA LANALOG CIRCUIT, P/N GO114BE, | BOARD, PRINTED CIRCUIT, PWA, ANALOG, FOR FOXBORO MODEL 227S RECORDER, FOXBORO, G0114BE | 1 | EA
10090842 |  |  | 1017 | AMPLIFIER ASSEMBLY, P/N BO-134SV FOR FOX | AMPLIFIER, ASSEMBLY, FOR MODEL E13DM TRANSMITTER, S/N 3984303, FOXBORO, B0134SV | 1 | EA
10090944 |  |  | 1017 | O-RING, FOXBORO P/N U0102MY, SILICONE EL | O-RING, SILICONE ELASTOMER, FOR PNEUMATIC TRANSMITTER REPEATER 13R-HS, FOXBORO, U0102MY | 1 | EA
10090996 |  |  | 1017 | TUBING, NEOPRENE P/N R0128AC | TUBING, NEOPRENE, FOXBORO, R0128AC | 20 | FT
10090997 |  |  | 1017 | TUBING, VINYL #M 147 PT | TUBING, VINYL, FOXBORO, M147PT | 5 | EA
10091019 |  |  | 1017 | MOTOR, REPLACEMENT PNEUMATIC P/N MO146NB | MOTOR, PNEUMATIC, REPLACEMENT PNEUMATIC, FOXBORO, M0146NB | 1 | EA
10091068 |  |  | 1017 | ASSEMBLY, ADJ., LINK, FOXBORO P/N X0101C | LINK, ASSEMBLY, ADJUSTABLE, FOXBORO, X101CN | 3 | EA
10091071 |  |  | 1017 | TUBING, P/N R0128AA | TUBING, P/N R0128AA | 3 | FT
10091111 |  |  | 1017 | CONTROL, AUTO SELECT, MODEL: FOXBORO 130 | CONTROLLER, AUTO SELECT, MODEL SCALE 0-100, FOXBORO, 130MS-N4 | 1 | EA
10091116 |  |  | 1017 | STRIP, FLEXTURE P/N U-102-BK | STRIP, FLEXURE, PART FOR TYPE 3A D/P CELL TRANSMITTER UNIT, FOXBORO, U102BK | 2 | EA
10091127 |  |  | 1017 | ASPIRATOR ASSEMBLY, P/N C0135SB, FOR 2-M | ASPIRATOR ASSEMBLY, P/N C0135SB, FOR 2-MODE PNEUM CONTROLLER, FOXBORO 130M-N4 | 8 | EA
10091184 |  |  | 1017 | PLUG ASSEMBLY, POWER, (120/240 V) P/N CO | PLUG, ELECTRICAL, ASSEMBLY, POWER, 120/240V, FOR MODEL 102 PNEUMATIC CONSOTROL SHELVES, FOXBORO, C0138ZC | 8 | EA
10091211 |  |  | 1017 | MODULE, SIGNAL DISTR., MODEL FOXBORO 2AX | MODULE, SIGNAL DISTRIBUTION TERMINAL CONTROL, FOXBORO, 2AX+DIO | 3 | EA
10091213 |  |  | 1017 | CARD, SUMMER, MODEL 2AX PLUS SUM | BOARD, PRINTED CIRCUIT, SUMMER, CARD, FOXBORO, 2AX+SUM | 1 | EA
10091214 |  |  | 1017 | CARD, MULTIPLIER, MODEL 2AX PLUS MUL | BOARD, PRINTED CIRCUIT, MULTIPLIER, CARD, FOXBORO, 2AX+MUL | 1 | EA
10091215 |  |  | 1017 | CARD, ALARM, 2AX PLUS ALM PLUS AR | BOARD, PRINTED CIRCUIT, ALARM CONTROL MODULE, CARD, FOXBORO, 2AXALM+AR | 3 | EA
10091216 |  |  | 1017 | CARD, CONTROL (2 MODE), MODEL 2AC PLUS T | BOARD, PRINTED CIRCUIT, CONTROL, 2 MODE, CARD, FOXBORO, 2AC+T4 | 2 | EA
10091217 |  |  | 1017 | CARD, CONTROL (3 MODE), MODEL 2AC PLUS T | BOARD, PRINTED CIRCUIT, CONTROL, 3 MODE, CARD, FOXBORO, 2AC+T5 | 1 | EA
10091218 |  |  | 1017 | MODULE, OUTPUT, 2AO-V21 PLUS P PLUS P PL | MODULE, OUTPUT CONTROL BOARD, PLUS P PLUS P PLUS FGB, FOXBORO, 2AO-V21 | 2 | EA
10091221 |  |  | 1017 | MODULE, NEST POWER DIST. MODEL FOXBORO 2 | MODULE, POWER DISTRIBUTION, 15VDC 1A, NEST, FOXBORO, 2AX+DP10-FGB | 1 | EA
10091595 |  |  | 1017 | MANIFOLD ASSEMBLY, PN C0140QA FOR FOXBOR | MANIFOLD, ASSEMBLY, FOR PNEUMATIC INDICATING CONTROLLER MODEL 43AP-PA42C/TA-1A, ASSEMBLY, FOXBORO, C0140QA | 1 | EA
10091598 |  |  | 1017 | TUBE, PN C0140ZH FOR FOXBORO PNEUMATIC I | TUBE, PLASTIC, FOR FOXBORO PNEUMATIC INDICATING CONTROLLER MODEL 43AP-PA42C/TA-1A, FOXBORO, C0140ZH | 1 | EA
10091630 |  |  | 1017 | MEASURING ELEMENT FOR 44 TRANSMITTER 0-3 | ELEMENT, MEASURING, TRANS., S/N 568188, PB-AA 0-300 PSI, FOR FOXBORO MODEL 44 TRANSMITTER | 1 | EA
10091680 |  |  | 1017 | MEASURING ELEMENT FOR 44 TRANSMITTER 0-1 | ELEMENT, MEASURING, TRANS., S/N 559585, 0-100", H20, FOR FOXBORO MODEL 44 TRANSMITTER | 1 | EA
10091757 |  |  | 1017 | SENSOR, MED. RANGE, P/N BO138HS, FOR FOX | MODULE, SENSOR, MEDIUM RANGE FOR MODEL 823DP TRANSMITTER, FOXBORO, B0138HS | 1 | EA
10091758 |  |  | 1017 | SENSOR, LOW RANGE, P/N BO138PS, FOR FOXB | SWITCH, PRESSURE, LOW, 4-20MA OUTPUT, FOR MODEL 823DP TRANSMITTER, FOXBORO, B0138PS | 1 | EA
10091829 |  |  | 1017 | FLAPPER P/N 999MH | FLAPPER, NO999MH FOR FOXBORO LIQUID FLOW TRANSMITTER TYPE 13A D/P CELL | 3 | EA
10091830 |  |  | 1017 | FLEXURE P/N U0102KL | ASSEMBLY, FLEXURE, FOR FOXBORO LIQUID FLOW TRANSMITTER TYPE 13A D/P CELL, FOXBORO, U0102KL | 4 | EA
10091992 |  |  | 1017 | BELLOWS, FOXBORO P/N C0133EK, FOR MOD. 1 | BELLOWS, FOR FOXBORO 130M-N4 PNEUMATIC CONTROLLER, FOXBORO, C0133EK | 2 | EA
10091993 |  |  | 1017 | BELLOW ASSEMBLY, PN C0133EN FOR FOXBORO | BELLOWS, ASSEMBLY, FOR FOXBORO 130M-N4 PNEUMATIC CONTROLLER, FOXBORO, C0133EN | 1 | EA
10091994 |  |  | 1017 | CONTROL UNIT, PN C0134BX FOR FOXBORO 130 | CONTROL, UNIT, PNEUMATIC, FOR FOXBORO 130M-N4 PNEUMATIC CONTROLLER, FOXBORO, C0134BX | 1 | EA
10092049 |  |  | 1017 | PREAMP, PH, L & N P/N 101316, 16V, FOR M | BOARD, PRINTED CIRCUIT, 16V, PRE-AMPLIFIER, FOR MODEL 7073 & 7076 PH MONITORS, LEEDS <(>&<)> NORTHRUP, 101316 | 5 | EA
10092217 |  |  | 1017 | PREAMPLIFIER, MODULE,31028698 FOR LEED | BOARD, PRINTED CIRCUIT, PRE-AMPLIFIER, MODULE, FOR LEEDS & NORTHRUP PH CELLS & MONITOR, LEEDS & NORTHRUP, 28698 | 1 | EA
10092221 |  |  | 1017 | O-RING, PN C0134CL FOR FOXBORO 130M-N4 P | O-RING, FOR 130M-N4 PNEUMATIC CONTROLLER, FOXBORO, C0134CL | 1 | EA
10092222 |  |  | 1017 | BELLOWS, PAIR (2) PN C0134LC FOR FOXBORO | BELLOWS, PAIR, 2, FOR FOXBORO 130M-N4 PNEUMATIC CONTROLLER, FOXBORO, C0134LC | 1 | PR
10092291 |  |  | 1017 | ELEMENT, MEASURING, RANGE 0-60 PSI WITH | ELEMENT, MEASURING, RANGE 0-60 PSI WITH 1" FLANGE, TANTALUM DIAPHRAGM AND 10' CAPILLARY, SS FOR FOXBORO M-45 PRESSURE TRANSMITTER, S/N 2878623 | 1 | EA
10077489 |  |  | 1017 | HEATER, WESTINGHOUSE 1265-539 | HEATER, WESTINGHOUSE, 1265-539 OBSOLETE PER SUPPLIERS (23056 & 07019) - 9/97 | 5 | EA
10084115 |  |  | 1017 | *C* ASSEMBLY, SPARE HEAD SHAFT, CONSISTI | ASSEMBLY, SPARE HEAD SHAFT, CONSISTING OF: 1 EA. COUPLING SHAFT (10081879) , 2 EA. PILLOW BLOCK BEARINGS (10081829), 2 EA. SPROCKET (10081830) 4 EACH SPLIT COLLARS (10084688) 1 EACH MECO SEAL KIT (10084065) AND 1 EACH M-8 ATRA-FLEX COUPLING HUB BORE | 1 | EA
10087553 |  |  | 1017 | GREASE, PLUG COCK, ROCKWELL D-421 | GREASE, PLUG COCK, FOR PLUG COCKS, ROCKWELL AUTOMATION, D421 | 2 | BOX
10087974 |  |  | 1017 | PROBE, VERK, FOR CLARK RELIANCE ELECTRO | PROBE, VERK, FOR CLARK RELIANCE ELECTRO EYE-HYE MODEL EL1000 | 2 | EA
10088092 |  |  | 1017 | O-RING, VITON, ACS 201530, TO FIT A PROB | O-RING, VITON, FOR PROBE BLOW BACK UNIT, ANARAD CONTROL SYSTEM, 201530 | 3 | EA
10088664 |  |  | 1017 | INTEGRATOR, RAMSEY MICRO-TECH II, MODEL | INTEGRATOR, RAMSEY MICRO-TECH II, MODEL 10-301, P/N 038118 | 1 | EA
10089262 |  |  | 1017 | ROTAMETER, 0-26 SCFM AIR, 1”NPT, BRASS, | METER, FLOW, ROTAMETER, 1" NPT, 0-26 SCFM, BRASS, AIR, FISCHER & PORTER, 10A2235AXXX42 | 1 | EA
10090311 |  |  | 1017 | CONTACTOR, 480V 3 PHASE KEMP P/N 21037 K | CONTACTOR, 480V, 3PH, KEMP AIR DRYER MODEL 4307 ORIAD, S/N 1-13868, KEMP, 21037 | 2 | EA
10090317 |  |  | 1017 | CHECK VALVE (V3) KEMP P/N 1171162 KEMP A | VALVE, CHECK, ORIAD AIR DRYER, MODEL 4307, S/N 1-13868, V3, KEMP, 20765 | 2 | EA
10090318 |  |  | 1017 | CHECK VALVE (V4) KEMP P/N 1190552 KEMP A | VALVE, CHECK, ORIAD AIR DRYER, MODEL 4307, S/N 1-13868, V4, KEMP, 20767 | 1 | EA
10090587 |  |  | 1017 | SENSOR, NAMCO CATALOG NO. ET120-92410 47 | SENSOR, 47 MM TAKE-UP LEVEL SHIELDED GENERAL PURPOSE PROXIMITY SENSOR ALTANTIC METAL PRODUCTS, INC ELEVATOR, SIZE 200TPH, JOB #12944, NAMCO, ET120-92410 | 2 | EA
10090588 |  |  | 1017 | LIMIT SWITCH, TAKE-UP ASSEMBLY NAMCO CAT | SWITCH, LIMIT, NAMCO CAT. #EA170-11100, FOR EL-10 TAKE-UP | 1 | EA
10090589 |  |  | 1017 | OPERATING LEVER, NAMCO CATALOG NO. EL010 | LEVER, SWITCH, OPERATING, NAMCO CATALOG #EL010-58337 (FOR USE ON NAMCO # EA180-11302 LIMIT SWITCH) ALTANTIC METAL PRODUCTS, INC ELEVATOR, SIZE 200TPH, JOB #12944 NAMCO CATALOG #EL010, NAMCO, EL01058337 | 3 | EA
10091300 |  |  | 1017 | PROBE, 300-00-00-35-12-02, FOR BENTLEY N | PROBE, FOR BENTLEY NEVADA MONITOR, BENTLY NEVADA, 300-00-00-35-12-02 | 1 | EA
10091302 |  |  | 1017 | PROBE, 300-00-00-70-30-02, FOR BENTLEY N | PROBE, FOR BENTLEY NEVADA MONITOR, BENTLY NEVADA, 300-00-00-70-30-02 | 1 | EA
10091899 |  |  | 1017 | HYGROMETER, PANAMETRICS SENTRY MODEL MM5 | HYGROMETER, WITH M2LRPROBE AND 5' INTERCONNECTING CABLE, SENTRY MODEL MM5-35-6-2-1-110, PANAMETRICS, 703035 | 1 | EA
10092784 |  |  | 1017 | *C* IMPELLER/PINION ASM, 3RD STG, 340551 | ASSEMBLY, IMPELLER <(>&<)> PINION, 3RD STAGE FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, *C* S/N BF5527, JOY, 3405517-41 | 1 | EA
10095344 |  |  | 1017 | BEARING ASSEMBLY, BLIND END, P/N 411-305 | BEARING, ASSEMBLY, BLIND END, FOR CENTRIFUGAL COMPRESSOR ISOPAC 3-3-2, S/N 3-3-3298 DRESSER-CLARK, 411-305-208A | 1 | EA
10095349 |  |  | 1017 | END SEAL ASSEMBLY, 3RD STAGE, P/N 411-62 | ASSEMBLY, END SEAL, 3RD STAGE, FOR CENTRIFUGAL COMPRESSOR ISOPAC 3-3-2, S/N 3-3-3298 DRESSER-CLARK, 411-627-201 | 1 | EA
10095350 |  |  | 1017 | END SEAL ASSEMBLY, 2ND STAGE, P/N 411-62 | ASSEMBLY, END SEAL, 2ND STAGE, FOR CENTRIFUGAL COMPRESSOR ISOPAC 3-3-2, S/N 3-3-3298 , DRESSER-CLARK, 411-626-203 | 1 | EA
10095351 |  |  | 1017 | SEAL, LABYRINTH, 1ST STAGE, P/N 411-625- | SEAL, LABYRINTH, 1ST STAGE FOR CENTRIFUGAL COMPRESSOR ISOPAC 3-3-2, S/N 3-3-3298 DRESSER-CLARK, 411-625-201 | 1 | EA
10096122 |  |  | 1017 | SCREW, CAP, SOCKET HEAD, P/N 13, 3/8"- 1 | SCREW, CAP, SOCKET HEAD, 3/8"-16 X 1-1/4" LG, SS, FOR #4 & 6 TURBA-FILM PROCESSORS, S/N 4-124E, 6-102E, 6-117E, & 6-118E, PER DWG DL-230G, 13 | 58 | EA
10096442 |  |  | 1017 | FILTER,OIL,ELMNT | FILTER, OIL, ELEMENT, FOR OIL UNIT FOR CENTRIFUGAL COMPRESSOR MODEL TA 25V, S/N 5527, JOY, P1404040-0115 | 2 | EA
10096452 |  |  | 1017 | LABYRINTH, SEAL, PN 1404946, FOR JOY CEN | SEAL, LABYRINTH, FOR 1ST STAGE CENTRIFUGAL COMPRESSOR MODEL TA 25V, S/N 5527, JOY, 1404946 | 1 | EA
10096453 |  |  | 1017 | LABYRINTH, SEAL, PN 1404946-1 FOR JOY CE | SEAL, LABYRINTH, FOR 2ND STAGE CENTRIFUGAL COMPRESSOR MODEL TA 25V, S/N 5527, JOY, 1404946-1 | 1 | EA
10096454 |  |  | 1017 | LABYRINTH, SEAL, PN 140946-2, FOR JOY CE | LABYRINTH, SEAL, PN P1404946-2 FOR JOY CENTRIFUGAL COMPRESSOR #TA 25V, S/N 5527 FOR THIRD STAGE | 1 | EA
10096455 |  |  | 1017 | SEAL, OIL, BULL GEAR, P/N P3404841-0100 | SEAL, OIL, FOR BULL GEAR FOR CENTRIFUGAL COMPRESSOR MODEL TA 25V, S/N 5527, JOY, P3404841-0100 | 1 | EA
10096456 |  |  | 1017 | RING, RETAINER, PN 4020270-312, FOR JOY | RING, RETAINING, FOR OIL UNIT FOR CENTRIFUGAL COMPRESSOR MODEL TA 25V, S/N 5527, JOY, P1402070-312 | 2 | EA
10096457 |  |  | 1017 | O-RING, NEOPRENE, -P243, 4-1/8"X4-3/8"X1 | O-RING, 4-1/8" ID X 4-3/8" OD X 1/8" WD, -243, FOR JOY CENTRIFUGAL COMPRESSOR #TA 25V S/N 5527 FIRST STAGE, P243 | 10 | EA
10096463 |  |  | 1017 | SEAL, #P1404971-0505 FOR JOY CENTRIFUGA | SEAL, FOR MAIN DRIVE COUPLING FOR CENTRIFUGAL COMPRESSOR MODEL TA 25V, S/N 5527B, JOY, P1404971-0505 | 2 | EA
10096464 |  |  | 1017 | SEAL, #402070-311, FOR JOY CENTFRIFUGAL | SEAL, FOR OIL UNIT FOR CENTRIFUGAL COMPRESSOR MODEL TA 25V, S/N 5527, JOY, 402070-311 | 3 | EA
10096682 |  |  | 1017 | BEARING, BULL GEAR, C.C.W., P/N 1404958 | BEARING, BULL GEAR, CCW FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 1404958 | 1 | EA
10096683 |  |  | 1017 | BEARING, BULL GEAR, C.W., P/N 1404957 FO | BEARING, BULL GEAR, CW FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 1404957 | 1 | EA
10096684 |  |  | 1017 | BEARING ASSEMBLY, FRONT, FIRST STAGE, P/ | BEARING, FRONT ASSEMBLY, 1ST STAGE FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 340494710 | 1 | EA
10096685 |  |  | 1017 | BEARING, FRONT ASSEMBLY, 2ND STAGE P/N 3 | BEARING, FRONT ASSEMBLY, 2ND STAGE FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 3404948-00004 | 1 | EA
10096686 |  |  | 1017 | BEARING, FRONT ASSEMBLY, 3RD STAGE P/N 3 | BEARING, FRONT ASSEMBLY, 3RD STAGE FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 3404949-00004 | 1 | EA
10096687 |  |  | 1017 | BEARING, REAR P/N 340495000010, FOR JOY | BEARING, REAR ASSEMBLY, 1ST STAGE FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 3404950-00010 | 1 | EA
10096688 |  |  | 1017 | BEARING, REAR P/N 3404951, FOR JOY TURBO | BEARING, REAR ASSEMBLY, 2ND STAGE FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 3404951 | 1 | EA
10096689 |  |  | 1017 | BEARING, REAR P/N 3404952, FOR JOY TURBO | BEARING, REAR ASSEMBLY, 3RD STAGE FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 3404952 | 1 | EA
10096696 |  |  | 1017 | CONTROLLER, LOAD LIMITING, 54008800020 | CONTROLLER, LOAD LIMITING, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 540088-00020 | 1 | EA
10096697 |  |  | 1017 | O-RING, PN 400642-78 (1/8 X 35.36 I.D.), | O-RING, 35.36" ID X 1/8" WD, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, FOR S/N BF-5527, JOY, 400642-78 | 2 | EA
10096698 |  |  | 1017 | O-RING, PN 400642-79 (1/8 X 38.23 I.D.), | O-RING, 38.23" ID X 1/8" WD, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, FOR S/N BF-5527, JOY, 400642-79 | 2 | EA
10096699 |  |  | 1017 | CONTROLLER, OVERLOAD, P/N 540017-36, FOR | CONTROLLER, OVERLOAD, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 540017-36 | 1 | EA
10096700 |  |  | 1017 | RELAY, CONTACTOR, 6 N/O, 120VAC COIL, CO | RELAY, CONTACTOR, 6 N/O, 120VAC COIL, CONTACTS RATED AT 10A@600VAC <(>&<)> 5A@ 600VDC, OPEN TYPE RELAY FLAT PANEL MOUNT, ALLEN BRADLEY # 700-P600A1, FOR JOY TURBO-AIR 25 VOLT CENTRIFUGAL COMPRESSOR S/N BF-5527 | 1 | EA
10096704 |  |  | 1017 | SEAL, MAIN OIL PUMP COUPLING HUB, P/N 40 | SEAL, OIL, MAIN OIL PUMP COUPLING HUB TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 402070-310 | 2 | EA
10096705 |  |  | 1017 | RELAY, SELECTOR P/N 540037-1, CENTRIFUGA | RELAY, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 540037-1 | 1 | EA
10096706 |  |  | 1017 | SHIM, THIRD STAGE DIFFUSER PLATE, P/N P1 | SHIM, THIRD STAGE DIFFUSER PLATE, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, P1404915-0002 | 2 | EA
10096707 |  |  | 1017 | SHIM, SECOND STAGE DIFFUSER PLATE, P/N P | SHIM, 2ND STAGE DIFFUSER PLATE, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, P1404915-0001 | 2 | EA
10096708 |  |  | 1017 | SHIM, FIRST STAGE P/N P140-4915-0000 FOR | SHIM, 1ST STAGE DIFFUSER PLATE, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, P1404915-0000 | 2 | EA
10096709 |  |  | 1017 | SHIM, THIRD STAGE INNER PLATE, P/N P140- | SHIM, THIRD STAGE, INNER PLATE, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, P1404912-0002 | 2 | EA
10096710 |  |  | 1017 | SHIM, SECOND STAGE INLET SHIM, P/N P140- | SHIM, 2ND STAGE INLET, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, P1404912-0001 | 2 | EA
10096711 |  |  | 1017 | SHIM, FIRST STAGE P/N P140-4912-000 FOR | SHIM, 1ST STAGE INLET, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, P1404912-0000 | 2 | EA
10096712 |  |  | 1017 | SHIM, BULL GEAR, P/N 1404844, FOR JOY TU | SHIM, BULL GEAR, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 1404844 | 2 | EA
10096713 |  |  | 1017 | SHIM, REAR BEARING CARRIER, P/N 1404843, | SHIM, REAR BEARING CARRIER, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 1404843 | 2 | EA
10096714 |  |  | 1017 | SWITCH, P/N 540091-1, FOR JOY TURBO-AIR | SWITCH, P/N 540091-1, FOR JOY TURBO-AIR 25 VOLT CENTRIFUGAL COMPRESSOR, S/N BF-5527 | 2 | EA
10096716 |  |  | 1017 | SWITCH, DIFFERENTAIL PRESSURE/ P/N 40068 | SWITCH, PRESSURE, DIFFERENTIAL, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 400682-93 | 1 | EA
10096717 |  |  | 1017 | SWITCH, P/N 540091-2, FOR JOY TURBO-AIR | SWITCH, P/N 540091-2, FOR JOY TURBO-AIR 25 VOLT CENTRIFUGAL COMPRESSOR S/N BF-5527 | 1 | EA
10096718 |  |  | 1017 | SWITCH, PRESSURE, 1.5-150PSI, SPDT, 1/4" | SWITCH, PRESSURE, 600V, 1.5-150 PSI, 300 PSI PROOF, SPDT, ENCL NEMA 4, 1/4" FNPT, 304 SS FITTING, 17-7 PH SS DIAPHRAGM, ANODIZED ALUM, NOT EX-PROOF, COVERED EXTERNAL DIAL ADJUSTMENT, BARKSDALE, D1TA150SS | 1 | EA
10096721 |  |  | 1017 | SWITCH, TEMPERATURE, UE TYPE B400, MODEL | SWITCH, TEMPERATURE, MULTI-SWITCH, 0-225 DEG F, FOR JOY TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF5527, MODEL 120, UNITED ELECTRIC, B400 | 1 | EA
10096723 |  |  | 1017 | TRANSDUCER, P/N 540089-1, FOR JOY TURBO- | TRANSDUCER, FOR TURBO-AIR 25V CENTRIFUGAL COMPRESSOR, S/N BF-5527, JOY, 540089-1 | 1 | EA
10096725 |  |  | 1017 | PUMP, MAIN OIL, ROPER TYPE 18AM21 | PUMP, MAIN OIL, INCLUDING MOUNTING ADAPTER, SAME AS S/N G221850, FOR AC-38, ROPER, 18AM21 | 1 | EA
10096827 |  |  | 1017 | DEMISTER, FOR CLARK ISOPAK COMPRESSOR S/ | ELIMINATOR, FOR CLARK ISOPAK COMPRESSOR C/T 20718, P/N 410-019-001, REQUIRES 4 EACH PER CHANGE, QUOTE #Q-8-N-022, DEMISTER, DRESSER-CLARK, 333298 | 4 | EA
10096849 |  |  | 1017 | BEARING, 3-15/16" BORE, TYPE E, F4B-E-31 | BEARING, 3-15/16" BORE, TYPE E, F4B-E-315R 4-BOLT FLANGE BEARING, P/N 023116 MFG DESCR F4BE315R FLG BRG 023116 | 2 | EA
10097466 |  |  | 1017 | O-RING, 1ST STAGE SHROUD, NO. 420-943-08 | O-RING, 1ST STAGE SHROUD, 002-271-873, FOR CLARK ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 QUOTE #Q-8-N-022, DRESSER-CLARK, 420-943-080 | 1 | EA
10097467 |  |  | 1017 | O-RING, 2ND STAGE SHROUD, NO. 420-943-08 | O-RING, 2ND STAGE SHROUD, NO. 002-871-282, FOR CLARK ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 QUOTE #Q-8-N-022, DRESSER-CLARK, 420-943-081 | 1 | EA
10097468 |  |  | 1017 | O-RING, 3RD STAGE SHROUD, NO. 002-271-27 | O-RING, 3RD STAGE SHROUD, NO. 002-271-279, FOR CLARK ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 QUOTE #Q-8-N-022 | 1 | EA
10097471 |  |  | 1017 | STAT-O-SEAL, NO. 410-400-010, FOR CLARK | SEAL, STAT-O-SEAL, FOR ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 , DRESSER-CLARK, 410-400-010 | 4 | EA
10097472 |  |  | 1017 | INTERCOOLER, NO. 410-018-002, FOR CLARK | COOLER, INTER, FOR CLARK ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 , DRESSER-CLARK, 410-018-002 | 2 | EA
10097474 |  |  | 1017 | PUMP & DRIVER, MAIN LUBE, NO. 045-037-00 | PUMP & DRIVER, MAIN LUBE, NO. 045-037-012, (1 SET FOR 25 GPM 75 PSIG), WORTHINGTON TYPE GAFTM DOUBLE HELICAL SIZE 4, ELECTRIC MOTOR, FRAME 182TY, 3 HP, 1800 RPM, OPEN D.P. 3 PHASE, 60 CYCLE, 220/440V, FOR CLARK ISOPAC 3-3-2 COMPRESSOR DUAL | 1 | EA
10097475 |  |  | 1017 | PUMP & DRIVER, OIL, AUXILIARY, NO. 045-0 | PUMP &DRIVER, OIL, AUXILIARY, NO. 045-038- 001, (1 SET FOR 25 GPM 75 PSIG) ROPER ROTARY PUMP, MOD 133, SERIES AM, SIZE 16, CLOSE COUPLED GAST AIR MOTOR, MOD. 8AM- NRV-28 TO DELIVER 2.2 HP # 1750, FOR CLARK ISOPAC 3-3-2 COMPRESSOR DUAL LUBE O | 2 | EA
10097476 |  |  | 1017 | CARTRIDGE, OIL, FULFLO RESIN BONDED, P/N | FILTER, OIL, 9-3/4", CARTRIDGE RESIN BONDED, 60/CTN, FULFLO, PRO10-9 | 36 | EA
10097477 |  |  | 1017 | BEARING SHOE NO. 410-051-001, FOR BLIND | SHOE, BEARING, BLIND END & 1ST STAGE, FOR ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 DRESSER-CLARK, 410-051-001 | 8 | EA
10097481 |  |  | 1017 | SCREW, CAP, PINION BEARING, NO. 000-007- | SCREW, CAP, PINION BEARING 1ST, 2ND, 3RD STAGE & BLIND FOR ISOPAC 3-3-2 AIR COMPRESSOR, TOTAL PER MACH, S/N 3-3-3298 DRESSER-CLARK, 000-007-439 | 61 | EA
10097482 |  |  | 1017 | PIN, SPIRAL, PINION BEARING, 1ST STAGE, | PIN, SPIRAL, PINION BEARING, 1ST STAGE, P/N 045-200-008, FOR CLARK ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 | 1 | EA
10097488 |  |  | 1017 | SCREW, CAP, PINION BEARING, NO. 000-007- | SCREW, CAP, PINION BEARING 2ND, 3RD STAGE FOR ISOPAC 3-3-2 AIR COMPRESSOR, S/N 3-3-3298 , DRESSER-CLARK, 000-007-519 | 8 | EA
10242422 |  |  | 1017 | SEAL, OIL, NATIONAL P/N 476517, 3.937" X | SEAL, OIL, 2 LIPS, MIXED SPRING TYPE, OPEN CASE, 3.9340" ID, 5.9110" OD, 0.5000" WD, VENDOR APPLIED INDUSTRIAL TECHNOLOGIES, NATIONAL, 476517 | 6 | EA
10285948 |  |  | 1017 | CIRCUIT BOARD, A11-11 CHLORINE TRANSMITT | BOARD, PRINTED CIRCUIT, CHLORINE TRANSMITTER, 0-3 PPM A11-11, FOR PLANT SHELTER IN PLACE, ANALYTICAL TECHNOLOGIES, 43101 | 1 | EA
10285949 |  |  | 1017 | CIRCUIT BOARD, A11-21 HYDROGEN CHLORIDE | BOARD, PRINTED CIRCUIT, HYDROGEN CHLORIDE TRANSMITTER, A11-21, FOR PLANT SHELTER IN PLACE, ANALYTICAL TECHNOLOGIES, 01-0023 | 1 | EA
10285950 |  |  | 1017 | CIRCUIT BOARD, A11-24 HYDROGEN SULFIDE | BOARD, PRINTED CIRCUIT, HYDROGEN SULFIDE TRANSMITTER, A11-21, FOR PLANT SHELTER IN PLACE, ANALYTICAL TECHNOLOGIES, 01-0030 | 1 | EA
10637353 |  |  | 1017 | VALVE, BUTTERFLY, 4", 300# WAFER, W/ACTU | VALVE, BUTTERFLY, 4", 300 LB, 316 SS, 316 SS DISC/17-4PH SS SHAFT/RTFE SEAT/GARFIL GLASS BACKED TFE BEARING, SILICONE O-RING/TFE PACKING, WAFER, WITH ACTUATOR, WITH DHT SHAFT MATERIAL, BARE SHAFT ACTUATOR TYPE, ASSEMBLED WITH DOUBLE ACTING, TFE PACKING F | 2 | EA
10637354 |  |  | 1017 | KIT, REPAIR, VALVE, SOFTGOODS FOR FLOWSE | KIT, REPAIR, VALVE, SOFTGOODS, FOR 4" 300 LB WAFER, SS WITH PTFE SEAL, FLOWSEAL, 4" 3WA22DRTG-B SOFT GOODS REPA | 3 | KIT
10637355 |  |  | 1017 | ACTUATOR, MAX AIR MT26-DA DOUBLE ACTING | ACTUATOR, PNEUMATIC, 40-120 PSI, MAX AIR, DOUBLE ACTING, FLOWSEAL, MT26-DA | 2 | EA
10637356 |  |  | 1017 | KIT, REPAIR FOR MAX AIR MT26 PNEUMATIC A | KIT, REPAIR, FOR MAX AIR MT26 PNEUMATIC ACTUATOR, FLOWSEAL, MT-26-RK | 2 | EA
10242072 |  |  | 1017 | CONTACTOR, VACUUM, 3-POLE, AMPGARD | CONTACTOR, VACUUM, 3-POLE, AMPGARD, 720 AMP, NON LATCHED, 4160/120 VOLT 2KVA CPT FOR 4 KV VOLTAGE STARTERM FN-114, P/N SJA830 STYLE #2147A85G02 | 2 | EA
10242073 |  |  | 1017 | CONTACTOR, VACUUM, 2-POLE, AMPGARD | CONTACTOR, VACUUM, 2-POLE, AMPGARD, 720 AMP, 120 VOLT COIL, FOR 4 KV REDUCED VOLTAGE STARTER, FN-114, P/N SJA820 STYLE #2147A86G06 | 2 | EA
10314811 |  |  | 1017 | FUSE, 4KV, 650A, GE SUPPLY P/N JCL-A-36R | FUSE, 4KV, 650A, GE SUPPLY P/N JCL-A-36R | 6 | EA