## Sheet1
A short title to describe the asset. | The original manufacturer of the equipment: | Model Number or Model Line: | A brief description of the asset. Please include any features, upgrades, maintenance & malfunctions/damage. | The number of units available. | Current condition of the asset on a level of 1-10.
Asset Title* | Manufacturer* | Model* | Short Description* | QTY | Condition* | Serial NO
Centerline 2100 2-Section Group | Allen-Bradley | 2100 | 2 Sections, sec 8 of 9 and 9 of 9 | 1 | 09: New (Other) | LMKF73/3
VFD-Bucket | Allen-Bradley | PowerFlex 70 | 3HP VFD, 15 A Breaker 140M-l8, 3 Fuses, Run light, Fan | 1 | 09: New (Other) | LMKF73/3