## Sheet1
A short title to describe the asset. | The original manufacturer of the equipment: | Model Number or Model Line: | A brief description of the asset. Please include any features, upgrades, maintenance & malfunctions/damage. | The number of units available. | Current condition of the asset on a level of 1-10.
Asset Title* | Manufacturer* | Model* | Short Description* | QTY | Condition* | Serial NO
Centerline 2100 3-Section Group | Allen-Bradley | 2100 | 3 Sections- 2 empty buckets 1 of 9, 2 of 9, 3 of 9 | 1 | 09: New (Other) | LMKF73/4
VFD-Bucket | Allen-Bradley | PowerFlex 70 | 3HP VFD, 15 A Breaker 140M-l8, 3 Fuses, Run light, Fan | 5 | 09: New (Other)
Main Breaker Bucket | Cutler Hammer | HLDB 65K | 600 Amp Max- 3 Pole | 1 | 09: New (Other) | HLDB3600FT33W
Breaker Bucket | Allen-Bradley | 140U-l6 | 20 Amp | 6 | 09: New (Other)
Splice Kit Boxes | Allen-Bradley | 40114-714-10 | Boxes of new old stock splice kits Cu-Tin | 3 | 09: New (Other)