## Sheet1
A short title to describe the asset. | The original manufacturer of the equipment: | Model Number or Model Line: | A brief description of the asset. Please include any features, upgrades, maintenance & malfunctions/damage. | The number of units available. | Current condition of the asset on a level of 1-10.
Centerline 2100 3-Section Group | Allen-Bradley | 2100 | 3 Sections- 5 of 9, 6 of 9, 7 of 9 | 1 | 09: New (Other)
Devicenet Power suppply Bucket | Allen-Bradley | 1606-xls | Device net bucket, power supply, fuses, 120v/1pph/60Hz/3PH | 1 | 09: New (Other)
VFD-Bucket | Allen-Bradley | PowerFlex 70 | 3HP VFD, 15 A Breaker 140M-l8, 3 Fuses, Run light, Fan | 6 | 09: New (Other)
Breaker Bucket | Allen-Bradley | 140U-l6 | 20 Amp | 1 | 09: New (Other)
Breaker Bucket | Allen-Bradley | 140U-l6 | 15 Amp | 2 | 09: New (Other)
Breaker Bucket | Allen-Bradley | 140U-l6 | 30 Amp | 1 | 09: New (Other)
Ethernet to Devicenet Bridge Bucket | Allen-Bradley |  | switch and fuses | 1 | 09: New (Other)