## Sheet1
CATALOG_ID | Q_LEVEL | DESCRIPITION | QTY | WHSE | QTY_TYPE | LOC_ZONE | LOC_ROW | LOC_SECTION | LOC_TIER | LOC_BIN | MANUFACTURER | PART_NUMBER
00C4804837 | 4 | MOTOR, *, 036020, MOTOR, 3/4HP, 720RPM, FRAME 21 3TZ, WHSE | 1 | 1 | PR | 9 | 3 | 62 | CXX | XXX | WESTINGHOUSE ELEC CORP | 773B734G02
00C1547702 | 4 | MOTOR, *, 035928, MOTOR, 3HP, 208/230/440, 213 F RAME, E.D | 1 | 1 | PR | 9 | 3 | 63 | BXX | XXX | BALDOR ELEC | M3703
00X1004475 | 4 | ACTUATOR, ELECTRIC | 1 | 1 | PR | 9 | 3 | 61 | DXX | XXX | JAMESBURY CORP | LVW1000IN115AC
00X1011287 | 4 | MOTOR, 3 PHASE, 3/4 HP, CODE K, AMB. 54C, SF-1.0, 950/1140 RPM, V208-230/460, INS. F, AMPS. 3.5/1.7 | 1 | 1 | PR | 9 | 3 | 86 | DXX | XXX | LIEBERT CORP | KIT-B670010
00C3922283 | 4 | MOTOR, *, 036008, MOTOR, F/MOTOR OPER VALVE, CRA NE TELEDY | 1 | 1 | PR | 9 | 3 | 87 | CXX | RGT | CRANE TELIDYNE CHEM PUMP | 42578D
00C1549088 | 4 | MOTOR, *, 035930, MOTOR, 5'# 230/460 V,1730 RPM, LIMITORQU | 1 | 1 | PR | 9 | 3 | 92 | CXX | LFT | LIMITORQUE CORP | F-M30-V00-03P1
00C7900376 | 4 | MOTOR, *, 036090, MOTOR, 1/3 HP,1725 RPM,FC56C,4 40V, MILT | 1 | 1 | PR | 9 | 3 | 92 | CXX | RGT | ANY APPROVED | 411-2020-012
00C4804845 | 4 | MOTOR, *, MOTOR:W/WORM GEAR ASSY, MILTON ROY 252-0 | 1 | 1 | PR | 9 | 3 | 88 | CXX | XXX | ANY APPROVED | 252-0027-000
00C1115344 | 1 | MOTOR, VALVE ACTUATOR, 1700 RPM,HP 0.13 | 1 | 1 | PR | 9 | 3 | 10 | 2BX | XXX | LIMITORQUE CORP | 204010.02 MOTOR
00C1103506 | 2 | MOTOR, *, 035883, MOTOR, MODUTROL LOW VOLT, MINN EAP.#M845 | 1 | 1 | PR | 9 | 3 | 11 | 1GX | XXX | ANY APPROVED | M845A1027
00C4816765 | 4 | MOTOR, *, 036056, MOTOR 5HP 3505RPM FRAME 184T WHSE 7203 | 1 | 1 | PR | 9 | 3 | 11 | 3CX | XXX | WESTINGHOUSE ELEC CORP | 7203
00C1115336 | 1 | MOTOR, 5'# NUCLEAR,460 V,1700 RPM, LIMIT, *CAPITAL* | 2 | 1 | PR | 9 | 3 | 11 | 3GX | XXX | LIMITORQUE CORP | 204010.01 MOTOR
00C4817177 | 4 | MOTOR, *, 036060, MOTOR 1HP 3450RPM NEMA FR 56 #K-163 G.E. | 1 | 1 | PR | 9 | 3 | 11 | 4CX | RGT | ANY APPROVED | K-163
00C4804977 | 4 | MOTOR, *, 036023, MOTOR 1/2 HP 3450 RPM FRAME 56 C G.E. #5 | 1 | 1 | PR | 9 | 3 | 11 | 4FX | XXX | ANY APPROVED | 5KC43FG723X
00X1008922 | 4 | MOTOR, *, 036399, MOTOR,2.0HP,460V,3 PHASE,60 HZ,1725 RPM | 2 | 1 | PR | 9 | 3 | 11 | 4FX | XXX | ANY APPROVED | 3 PHASE
00I7403143 | 4 | MOTOR, ELECTRIC, DUTY MASTER, STANDARD EFFICIENT (STD) | 1 | 1 | PR | 9 | 3 | 11 | 7EX | XXX | RELIANCE ELECTRIC CO | 01UBZ7636601G
00C4517730 | 4 | MOTOR, VERTICAL, 3/4HP, 3PH, 230/460V, 1750RPM | 1 | 1 | AL | 9 | 3 | 11 | 8GX | XXX | RELIANCE ELECTRIC CO
00C4817060 | 4 | MOTOR, *, 036058, MOTOR: 3 HP,3440 RPM,FRAME 145 T, RELIAN | 1 | 1 | PR | 9 | 3 | 11 | 8FX | XXX | RELIANCE ELECTRIC CO | P14H404
00C4816211 | 4 | MOTOR, *, 036047, MOTOR 3HP 1800RPM FRAME 182T WHSE 68A144 | 1 | 1 | PR | 9 | 3 | 11 | 8GX | XXX | WESTINGHOUSE ELEC CORP | 68A14459
00C4817342 | 4 | MOTOR, * | 1 | 1 | AL | 9 | 3 | 12 | 0BX | XXX | WESTINGHOUSE ELEC CORP | 68A16804
00C1516202 | 4 | MOTOR, *, 035905, MOTOR, 3HP,440 V.,1725 RPM,FR 182T, WHSE | 1 | 1 | PR | 9 | 3 | 12 | 5HX | XXX | WESTINGHOUSE ELEC CORP | 68A14459
00C1544915 | 4 | MOTOR, *, 035919, MOTOR,FR 145T, 1745RPM, 230/460 V, CENT | 1 | 1 | PR | 9 | 3 | 12 | 5HX | XXX | CENTURY ELEC | CAT ID: C1544915
00C4804753 | 4 | MOTOR, VALVE ACTUATOR, 1.6, P56, 220/460VAC, 60HZ, 3, 8/4A, 1800, 25 FT/LB, 5 FT/LB, WFNV ENCL | 1 | 1 | AL | 9 | 3 | 12 | 7HX | XXX | LIMITORQUE CORP | 378204A
00C4816161 | 4 | MOTOR, *, MOTOR 10HP 3745RPM FRAME 213T WHSE 7OD-6 | 1 | 1 | PR | 9 | 3 | 13 | 0DX | XXX | WESTINGHOUSE ELEC CORP | 70D-67055
00C4802690 | 4 | MOTOR, 1/4HP, 115V, 60HZ, 5.8A, 1725RPM | 1 | 1 | AL | 9 | 3 | 13 | 0EX | XXX | WESTINGHOUSE ELEC CORP | #773
00C4816260 | 4 | MOTOR, *, 036048, MOTOR 1.5HP 1740RPM FRAME 145T WHSE #773 | 1 | 1 | PR | 9 | 3 | 13 | 0EX | XXX | WESTINGHOUSE ELEC CORP | #77-3B646G25
00C1551944 | 4 | MOTOR, 2HP | 1 | 1 | AL | 9 | 3 | 13 | 1DX | XXX
00C4804696 | 4 | MOTOR, *, 036016, MOTOR 1/3HP 1725RPM FRAME 5B56 WHSE 317P | 1 | 1 | AL | 9 | 3 | 13 | 1EX | XXX | WESTINGHOUSE ELEC CORP | #317P003
00C4804845 | 4 | MOTOR, *, MOTOR:W/WORM GEAR ASSY, MILTON ROY 252-0 | 1 | 1 | PR | 9 | 3 | 13 | 1FX | RGT | ANY APPROVED | 252-0027-000
00C3107778 | 4 | MOTOR, *, 036006, MOTOR,GOULD, IP2 | 1 | 1 | PR | 9 | 3 | 13 | 2CX | XXX | ANY APPROVED | CAT ID: C3107778
00C1547140 | 4 | MOTOR, *, 035926, MOTOR,FAN,1/4 HP, 1725 RPM,3PH ,60 HZ,LE | 1 | 1 | PR | 9 | 3 | 13 | 2IX | RGT | LEESON ELECTRIC CORP. | 100123