## Sheet1
CATALOG_ID | Q_LEVEL | DESCRIPITION | QTY | WHSE | QTY_TYPE | LOC_ZONE | LOC_ROW | LOC_SECTION | LOC_TIER | LOC_BIN | MANUFACTURER | PART_NUMBER
00C5107040 | 4 | BREAKER, *, 008252, BREAKER CIR 15 AM GE C#TE32015 RETAIN LO | 3 | 1 | PR | 9 | 3 | 10 | 5FX | XXX | ANY APPROVED | TE-32015 TY E
00C1858976 | 1 | BREAKER, *, 008235, BREAKER,CIRCUIT125A,DELETED USE 00028288 | 1 | 1 | PR | 9 | 3 | 11 | 0CX | XXX | WESTINGHOUSE ELEC CORP | FB3125L Y
00C1877042 | 1 | BREAKER, CIRCUIT, 3 POLE, INSTANTANEOUS TRIP, RATED CURRENT 0.6A | 5 | 1 | PR | 9 | 3 | 11 | 1CX | XXX | KLOCKNER - MOELLER | NZM6B-63/ZM6-0.6-5-OBI-CNA
00C1825918 | 1 | BREAKER, CIRCUIT, THERMAL MAGNETIC, 240VAC, 250VDC, 2, 350, ***USE 0032074809 *** | 1 | 1 | PR | 9 | 3 | 11 | 1FX | LFT | WESTINGHOUSE ELEC CORP | DA2350
00C1119197 | 4 | BREAKER, WHSE MA2700, 2P 700A600V | 1 | 1 | AL | 9 | 3 | 11 | 2BX | XXX | WESTINGHOUSE ELEC CORP | MA2700
00C5148176 | 4 | BREAKER, *, 008256, BREAKER CIRC WHSE #203P963H078 | 1 | 1 | PR | 9 | 3 | 13 | 1FX | RGT | WESTINGHOUSE ELEC CORP | #203P963H078 DA3300
0032072622 | 3 | BREAKER, CIRCUIT, SQUARE D TYPE ME, 600V, 3, 800A | 1 | 1 | PR | 9 | 3 | 12 | CXX | RGT | SQUARE D CO
00C1119205 | 1 | BREAKER, *, 008191, BREAKER, 250VDC, 2 POLE 300 AM P, WHSE.# | 1 | 1 | PR | 9 | 3 | 10 | 1BX | XXX | WESTINGHOUSE ELEC CORP | LA2300
00C1827591 | 3 | TRANSFORMER, CONTROL, 230/460-115/230, 1 | 1 | 1 | PR | 9 | 3 | 10 | 2XX | HXX | WESTINGHOUSE ELEC CORP | 1F1687
00C1875772 | 1 | TRANSFORMER, *, 071698, TRANSFORMER, TYPE EP WHSE#S1 0N04A26M I. | 5 | 1 | PR | 9 | 3 | 10 | 4GX | XXX | WESTINGHOUSE ELEC CORP | 6E0216P
00C1875798 | 4 | TRANSFORMER, 60HZ 1PH, 120/240V 16/32LV | 6 | 1 | AL | 9 | 3 | 11 | 2BX | XXX | WESTINGHOUSE ELEC CORP
00C1541564 | E | TRANSFORMER, *, 071666, TRANSFORMER,MOTOR***DELETED-USE 00020931 | 1 | 1 | PR | 9 | 3 | 11 | 4CX | LFT | VICTOREEN INC | S19040142
00C1524628 | 4 | *, 037014, POWER, SUPPLY, WHSE. #669A419H 10, PROTE | 1 | 1 | PR | 9 | 3 | 11 | 8GX | XXX | WESTINGHOUSE ELEC CORP | 28-1561-2
00X1007171 | 4 | TRANSFORMER, *, 071883, TRANSFORMER,1500VA,TYPE EP,S20N11S16N,L4 | 1 | 1 | PR | 9 | 3 | 11 | 0GX | XXX | CUTLER - HAMMER INC/EATON | S20N11S16N
00C1115609 | 4 | FUSE, CABLE PROTECTOR, 750MCM | 12 | 1 | PR | 9 | 3 | 95 | EXX | XXX |  | CP750C5
00C1831239 | 4 | FUSE, FUSE KIT, WHSE | 5 | 2 | PR | 9 | 3 | 11 | 2CX | XXX
00C1118900 | 1 | HOLDER, *, HOLDER, FUSE BLOCK, GOULD SHAW . #60308R | 18 | 1 | PR | 9 | 3 | 10 | 4CX | XXX | GOULD SHAWMUT INC. | 60308R
00C1574318 | 4 | SWITCH, *, 063420, SWITCH DISCONNECT 2POLE, SINGL E THROW F | 6 | 1 | PR | 9 | 3 | 73 | CXX | XXX | FEDERAL PACIFIC ELEC | TH3223R
00C1135367 | 2 | BOX, CONNECTOR, ELECTRICAL, NEMA 4, 12" X 10" X 5", CS, COATED, CONTINUOUS HINGE CLAMP COVER | 5 | 1 | PR | 9 | 3 | 10 | 0CX | 9CX | HOFMANN INDUSTRIES INC | A-1210CHNF
00X1006926 | 4 | *, 043699, RECEPTACLE,SAFETY SWITCH & WELD,H363DSWA | 1 | 1 | PR | 9 | 3 | 50 | DXX | XXX | ANY APPROVED | H363DSWA
00C1574300 | 4 | SWITCH, *, 063419, SWITCH, DISC., 60 A.240 V.3 PH ., SINGLE | 4 | 1 | PR | 9 | 3 | 13 | 2DX | XXX | ANY APPROVED | TH-4322R