## Sheet1
Contact Name: | Mohsen Mouralli
Business Name: | Industrial Automation Services M.M. Inc.
Street Address: | 108-545 The West Mall
City: | Etobicoke
State: | Ontario
Postal Code: | M9C1G6
Phone: | 647-671-7973
Email Address: | mohsen.mouralli@gmail.com |  |  | CONDITIONS:
Date: | April 9th 2021 |  |  | NIB | NEVER USED SURPLUS, IN MANUFACTURER'S ORIGINAL PACKAGING
|  |  |  | NNB | NEVER USED SURPLUS, NO LONGER IN MANUFACTURER'S ORIGINAL PACKAGING
|  |  |  | REM | USED SURPLUS. UNIT IS FULLY OPERATIONAL
|  |  |  | BROKE | NO LONGER FUNCTIONING / IN NEED OF REPAIR
Qty | Manufacturer | Part Number | Description | Condition | Est. New Value Ea.?
1 | PATLITE | B22210159-7F1 | Patlite pole adapter, 40mm diameter, off-white, plastic. For use with Patlite LR4 series direct mount signal tower bases. O-ring, binding head tapping screw for pole fixing, and water proof pole O-ring included. | NNB | 16
1 | Automation Direct | EA9-RHMI | C-more EA9 series headless HMI, supports (2) serial, (1) Ethernet, (2) USB ports and (1) HDMI audio/video out and (1) memory card slot. | NNB | 399
1 | Automation Direct | EA9-PGMSW | C-more Windows programming software, CD or free download. For use with C-more EA9 series touch panels. Requires USB or Ethernet connection to touch panel. | NNB | 98
1 | EATON | FAZ-C15-1-NA-SP | Eaton miniature circuit breaker, current-limiting, 15A, 277 VAC / 48 VDC, 1-pole, C curve, thermal magnetic, 14kA SCCR, 35mm DIN rail mount. | NNB | 20
1 | RHINO | PSB24-240 | RHINO PSB series switching power supply, 22-28 VDC output, 10A, 240W, 120/240 VAC or 120-375 VDC nominal input, 1-phase, enclosed, aluminum housing, 35mm DIN rail mount, screw terminals. | NNB | 121
1 | Automation Direct | P3-550E | Productivity3000 CPU, up to 50 MB ladder memory, 4 x 10 character LCD display, USB A storage, (2) Ethernet 10/100Base-T (RJ45), (1) RS-232 (RJ12), (1) RS-485 (3-pin terminal) and (1) USB A expansion port(s), battery included. | NNB | 485
1 | Automation Direct | P3-01AC | Productivity3000 AC base power supply, 100-240 VAC nominal input. (1) power supply required per base. | NNB | 147
1 | Automation Direct | P3-03B | Productivity3000 I/O base, 3-slot, DIN rail or flush mount. Requires P3-01AC or P3-01DC power supply. Holds power supply, CPU and (3) I/O modules. | NNB | 129
1 | Automation Direct | P3-16ND3 | Productivity3000 discrete input module, 16-point, 12-24 VDC, sinking/sourcing, 4 isolated common(s), 4 point(s) per common. Requires P3-RTB removable terminal block or ZIPLink pre-wired cables. | NNB | 122
1 | Automation Direct | P3-16TR | Productivity3000 relay output module, 16-point, 6-24 VDC/6-240 VAC, (16) Form A, 2 isolated common(s), 8 point(s) per common, 1.25A/point, 6.3A/common. Requires P3-RTB removable terminal block or ZIPLink pre-wired cables. | NNB | 142
2 | Automation Direct | P3-FILL | Productivity3000 filler module. | NNB | 36
1 | STRIDE | SE2-SW8U-T | STRIDE industrial unmanaged Ethernet switch, 8 ports, (8) Ethernet 10/100Base-T (RJ45) port(s), -40 to +75 deg C, metal housing, IP30, 35mm DIN rail mount. | NNB | 129
1 | ZIPLINK | ZL-P3-CBL20 | ZIPLink PLC I/O cable, 20-position terminal block to 24-pin connector, 1.6ft/0.5m cable length. For use with Productivity3000 modules. | NNB | 30.5
1 | ZIPLINK | ZL-P3-CBL20-L | ZIPLink PLC I/O cable, 20-position terminal block to 24-pin connector, 1.6ft/0.5m cable length. For use with Productivity3000 LED modules. | NNB | 33.5
2 | ZIPLINK | ZL-RTB20 | ZIPLink feedthrough module, 20-pole, DIN rail mount. | NNB | 43
1 | Automation Direct | TW-SD-MSL-2 | Wera 2.5mm slotted miniature screwdriver, 80mm (3.15in) blade length, extra-durable black point tip. Manufacturer part number: 118008. | NNB | 3
1 | Automation Direct | USB-CBL-AB15 | Programming cable, USB A to USB B, 15ft cable length. For use with C-more HMIs, Do-more and Productivity series CPUs and most USB devices. | NNB | 28.5
1 | Automation Direct | C5E-STPYL-C3 | Cat5e Ethernet crossover patch cable, STP (overall foil shield), RJ45 male to RJ45 male, 3ft cable length, yellow. For use with 10/100/1000 Mbps networks. | NNB | 6.5
1 | Automation Direct | C5E-STPYL-C7 | Cat5e Ethernet crossover patch cable, STP (overall foil shield), RJ45 male to RJ45 male, 7ft cable length, yellow. For use with 10/100/1000 Mbps networks. | NNB | 9
1 | KONNECT-IT | KN-G12SP-10 | Konnect-It screw grounding terminal block, accepts wire size 26-12 AWG, green and yellow, 35mm DIN rail mount, 100kA SCCR. Package of 10. Use to mechanically and electrically connect wires to 35mm DIN rail through the snap-on clamping foot. | NNB | 16
1 | KONNECT-IT | KN-T12GRY | Konnect-It screw single-level feedthrough terminal block, accepts wire size 26-12 AWG, gray, 20A, 600V rated (UL), 35mm DIN rail mount, 100kA SCCR. Package of 100. For use with jumpers KN-2J12, KN-3J12, KN-4J12 and KN-10J12. | NNB | 23
1 |  |  | Capri Tools CP20013 Professional Wire Stripper and Cutter, Blue/Black, Small | NNB | 12
1 |  |  | Crimper Plier Set, Preciva 0.25-10mm² Self-adjustable Ratchet Wire Crimping Tools with 1200 Wire Terminal Crimp Connector Insulated and Uninsulated Wire End Ferrules | NNB | 45
1 | Leviton | 3800-DIN | 120 Volt AC, 2 Pole, 3 Wire, Equipment Cabinet SPD Surge Protective Device, Wired-In Module, DIN-Rail Mounted, Terminal Block Wired, in a NEMA 1 Enclosure | NNB | 90.6908
2184.6908

## Sheet2
1 | BRYANT | BRY5266NP | Bryant straight blade plug, 15A, 125 VAC, 1-phase, 2-pole, 3-wire, NEMA 5-15, accepts cord size 0.3-0.65in, nylon housing, black and white. | NNB | 7.75 | consignment
1 | Automation Direct | DN-R35S1-2 | DINnector DIN rail, slotted, 35mm, 7.5mm height, 1m length, plated steel. Package of 2. | NNB | 10 | consignment
1 | PATLITE | LR4-302WJBW-RYG | Patlite LED signal tower, (3) tiers, 40mm diameter, red/amber/green, permanent or flashing (60 fpm +/- 2 fpm) light function, (4) alarms, 24 VDC, NPN/PNP polarity, colored lens, 80mm body length, off-white, 360 degree viewing angle, direct mount, IP65. | NNB | 116 | consignment
1 | Automation Direct | T1-0510G-1 | Iboco T1 series open slot wire duct, 0.5in width, 1in height, 6.5ft/2m length, gray. Cover included. | NNB | 11.5 | consignment